RETAIL ENGINEERING WESTERN REGION

BHARAT PETROLEUM CORPORATION LIMITED

12 TH FLOOR, MAKER TOWERS, CUFFE PARADE,

MUMBAI - 400 005

OPEN TENDER

ANNUAL RATE CONTRACT FOR SUPPLYING & LAYING OF 80 MM THICK CEMENT CONCRETE PAVER BLOCKS AT RETAIL OUTLETS IN MADHYA PRADESH & CHATTISGARH STATES FOR A PERIOD OF ONE YEAR

Tender No. : CRFQ -1000176274

Due Date    :  01.01.2013 at 15.00 Hours

CRFQ -1000176274								Date: 08.12.2012

Tender for  Annual Rate contract for supplying & laying of 80 mm thick cement concrete paver blocks at retail outlets in Madhya Pradesh & Chattisgarh States  for the period of one year from the date of issue of LOI/Contract –Invitation of Techno-Commercial Bid and Price Bid

- Bharat Petroleum Corporation Limited is a Fortune 500 Navratna PSU engaged in manufacturing and Marketing of diverse range of Petroleum Products.

Our Retail SBU markets various petroleum products through our Retail Outlets across India.

- BPCL intends to provide cement concrete paver blocks 80 mm thick at retail outlets in Madhya Pradesh & Chattisgarh States and pleased to invite your bids in two parts viz. Techno-Commercial Bid (Part A) and Price Bid (Part B) for  Annual rate contract for supplying & laying of 80 mm thick cement concrete paver blocks at retail outlets in Madhya Pradesh & Chattisgarh States for a period of one year from the date of issue of LOI/Contract.

- This is an e-tender. Please visit the website https://bpcl.eproc.in for participating in this tender process and submitting your Techno-commercial and Price bids online.

- Estimated Quantity:

| Territory | Grey steel moulded (sqm) | Grey rubber moulded (sqm) | Red rubber moulded (sqm) | TOTAL (sqm) |
| --- | --- | --- | --- | --- |
| Bhopal | 18000 | 6000 | 2000 | 26000 |
| Indore | 30000 | 4500 | 1500 | 36000 |
| Jabalpur | 15000 |  |  | 15000 |
| Raipur | 30000 | 4500 | 1500 | 36000 |
| TOTAL QTY (in sqm) | 93000 | 15000 | 5000 | 113000 |

- The attached tender document consists of the followings ( entire document to digitally signed and uploaded).

Part A: Techno-Commercial Bid (other than Price Bid).

    - Bid-qualification Criteria ( Annexure I)

    - General Purchase Conditions ( Annexure II )

    - Special Purchase Conditions ( Annexure III )

    - Technical Specifications ( Annexure IV )

    - Special Terms & conditions ( Annexure V)

    - General Instructions to bidders for E-Tendering  (Annexure VI)

    - Proforma of Integrity Pact ( Annexure VII )

    - List of approved TPIAs ( Annexure-VIII)

    - Other relevant document to be signed and uploaded ( Annexure-IX).

    - List of Revenue Districts (Annexure-X).

    - General terms & conditions ( Annexure-XI)

    - Declaration form for pavers (Annexure XII)

    - Safe practices at construction sites ( Annexure-XIII).

    - Unpriced Bid format ( not to be quoted here)- Annexure- XIV.

Information pertaining to Techno-commercial details and Relationship with Directors shall have to be submitted online.

The Vendors shall also be in a position to produce further information as and when required by BPCL.

BPCL, at its discretion reserves the right to verify information submitted and inspect the manufacturer facilities to confirm their capabilities.

Part B: Price Bid

Vendors have to submit Price Bids online. This tender comprises of four Territories. Vendors have the option of quoting for one Territory or all the Territories in the tender subject to satisfying the conditions of bidders qualification criteria of  established manufacturer ,  supplying capacity & proven track record  & financial capacity . Vendors have to upload their total supplying capacity & financial capacity for all the Territories they wish to quote for.

Vendors have to quote for the required items in respective Territories and shall offer 100% quantity against the required quantity of respective Territories otherwise their bids will not be considered.

- Tenderers shall also have to essentially sign an Integrity Pact (IP) for participating in this tender, as per the proforma mentioned in point (5 g) above.

- All the tender documents and Annexures, Techno-commercial details and Price Bids shall be required to be digitally signed with a class IIB or above digital signature by the authorized signatory. The authorized signatory shall be:

- Proprietor in case of proprietary concern.

- Authorised partner in case of partnership firm.

- Director, in case of a limited Company, duly authorized by its board of directors to sign.

If for any reason, the proprietor or the authorised partner or director as the case may be, are unable to digitally sign the document, the said document should be digitally signed by the constituted attorney having full authority to sign the tender document and a scanned copy of such authority letter as also the power of attorney (duly signed in the presence of a Notary public) should be uploaded with the tender.

- Online submission of the tender under the digital signature of the authorized signatory shall be considered as token of having read, understood and totally accepted all the terms and conditions

- EMD: EMD of Rs.1,00,000/- (Rs. 1 Lacs only) is required to be submitted if applicable in physical form (by the way of crossed A/c Payee demand draft drawn on any Nationalised or scheduled bank in favour of M/s Bharat Petroleum Corporation Ltd. and payable at Mumbai) at our office in a sealed cover addressed to Senior Manager Retail Engineering (West), with following boldly super-scribed on the outer cover

- CRFQ number

- Item

- Closing date/Time

- Name of the tenderer

It should be dropped in the tender box or sent by Registered Post/Courier to the following address so as to reach on or before the due date & time of the tender:

Senior Manager Retail Engineering (West),

Bharat Petroleum Corpn. Ltd.

12 th Floor, Maker Towers, Cuffe Parade, MUMBAI – 400005.

BPCL will not be responsible for non-receipt of instrument(s) due to postal delay/loss in transit etc.

Bid received without the EMD if applicable is liable to be rejected.

EXEMPTION FROM EARNEST MONEY DEPOSIT:

Micro and Small Enterprises registered with District Industries Centers or Khadi and Village Industries Commission or Khadi and Village Industries Board or Coir Board or National Small Industries Corporation or Directorate of Handicrafts and Handloom or any other body specified by Ministry of Micro, Small and Medium EnterprisesVendor has to upload the necessary documents as mentioned above to claim exemption for Earnest Money Deposit.

- Your bid should be submitted online on or before the due date i.e. 1 st Jan, 2013 at 15.00 Hrs.

- The Vendors who are already enlisted with BPCL should also apply.

- The vendors who are currently on BPCL s Holiday List will not be considered.

- BPCL reserves the right to accept any offer in whole or part or reject any or all offers without assigning any reason. BPCL is also not bound to accept the lowest Bid.

- If BPCL is unable to evaluate any offer for want of information, such offer will not be considered.

- BPCL reserves the right to change the quantity (increase/decrease) tendered.

- BPCL s decision on any matter regarding short listing of Vendors shall be final and any applicant shall not enter into any correspondence with BPCL unless asked for.

- BPCL reserves the right to accept/ reject any or all the Bids at their sole discretion without assigning any reason whatsoever.

- Forming Cartel and quoting rates in groups would disqualify the supplier.

- Bids submitted after the due date and time as mentioned above, or not in the prescribed format is liable to be rejected. BPCL does not take any responsibility for any delay in submission of online bids due to connectivity problem or non-availability of site and/or other documents to be uploaded online. No claims on this account shall be entertained.

- Based on the information and documents submitted, the parties who are found to be techno-commercially eligible shall qualify for the next round of the tender viz. price bid. They would also become registered vendors for all limited tenders for supplying & laying of CC paver blocks. The results of this qualification round shall be intimated to the tenderer by email.

- For clarifications, if any, please feel free to contact the undersigned on any working day between 10:00 am to 4:00 pm.  Corrigendum, if any shall be published in BPCL e-proc site ( https://bpcl.eproc.in).

Thanking you,

Yours faithfully,

For Bharat Petroleum Corporation Ltd.,

Ch. Raja Sekhar

Senior Manager Retail Engineering, (West)

Part A: Techno-commercial Bid

Annexure I

Bid-qualification Criteria:

- Established manufacturer of grey steel moulded, grey rubber moulded & red rubber moulded CC paver blocks of different shapes (namely uniregular, I shape etc.) 80 mm thick & engaged in laying of CC paver blocks.

The bidder must be a manufacturer of CC paver blocks & must have own facilities (labour & machinery) for laying CC paver blocks of grey steel moulded, grey rubber moulded & red rubber moulded.

Supply & laying of entire tendered quantity of CC paver blocks of grey steel moulded, grey rubber moulded & red rubber moulded shall be from bidders own premise/ facility for manufacturing.

Vendor should have the following machinery as mandatory equipment.

- Automatic block making machine for CC pavers for steel moulded.

- Established process & equipment for curing of CC pavers.

- Compression testing machine for checking compressive strength of CC pavers.

Documents required:

- Excise/VAT documents including quarterly returns (or) Factory license (or) Certificate from statutory auditor or any other relevant document issued by a Govt. Body clearly indicating that the vendor is a manufacturer of cement concrete paver blocks of all the three types namely grey steel moulded, grey rubber moulded & red rubber moulded.

- The certificate from approved TPIA (LRIS / SGS / GLISPL / IRS / DNV / EIL / TATA Projects / PDIL / UL / RITES LTD / ITSIPL / MECON) verifying and confirming point (1) and documents mentioned in point (a) above to  establish vendor is a manufacturer & engaged in laying of CC paver blocks of all the three types namely grey steel moulded, grey rubber moulded & red rubber moulded .

- Supplying Capacity & Proven Track Record: The vendor should have supplied and laid CC paver blocks at retail outlets/depots/installations of Oil Marketing Companies (BPCL, IOCL, HPCL, Reliance, Essar, Shell), or PSUs or State/Central Govt. Agencies or reputed Private companies in India during any continuous 12 months period in the last 3 years prior to the due date of bid submission, at least 30% of the total quantity ie. 33900 sqm.

Vendor can quote for more than one Territory.

Documents required:

- Invoices of any continuous 12 months period in the last 3 years prior to the due date of bid submission with the corresponding Purchase Orders totaling to at least 30% of the total quantity ie. 33900 sqm. The price part of the documents can be blanked out if the vendor so desires.

- The certificate from approved TPIA (LRIS / SGS / GLISPL / IRS / DNV / EIL / TATA Projects / PDIL / UL / RITES LTD / ITSIPL / MECON) verifying and confirming point (2) and documents mentioned in point (a) above to  establish supplying capacity & proven track record .

- Financial Capacity:

- The vendor should have achieved a minimum average annual financial turnover of at least 30% of the total estimated cost ie. Rs.2.29 crores as per their Audited Balance Sheet and Profit & Loss account in the last three accounting years prior to due date of bid submission namely Financial Accounting years 2009-10, 2010-11 and 2011-12 (if audited balance sheet & profit & loss statement is not available for 2011-12, then provisional balance sheet & profit & loss statement  for 2011-12 duly certified by statutory auditors shall be considered).

- Net assets of the vendor should be positive in the last three accounting year namely 2009-10, 2010-11 & 2011-12 (if audited balance sheet & profit & loss statement is not available for 2011-12,  then provisional balance sheet & profit & loss statement shall be considered). The Net assets is defined as TOTAL ASSETS MINUS TOTAL LIABILITIES.

Documents required:

- Audited Balance Sheets and Profit & Loss accounts of the vendor for the previous three financial accounting years (2009-10, 2010-11 & 2011-12) prior to the due date of bid submission (English language only).

_______________________________

Annexure II

Bharat Petroleum Corporation Limited

General Purchase Conditions

The following conditions shall be applicable for all procurement unless specifically mentioned in the Special Purchase Conditions.

INDEX

1.	DEFINITIONS

2.	REFERENCE FOR DOCUMENTATION

3.	RIGHT OF OWNER TO ACCEPT OR REJECT TENDER

4.	LANGUAGE OF BID

5.	PRICE

6.	TAXES AND DUTIES

7.	INSPECTION

8.	ORDER AWARD / EVALUATION CRITERIA

9.	CONFIRMATION OF ORDER

10.	PAYMENT TERMS

11.	GUARANTEE/WARRANTY

12.	PERFORMANCE BANK GUARANTEE

13.	DELIVERY

14.	UNLOADING AND STACKING

15.	VALIDITY OF OFFER

16.	DELIVERY DATES AND PRICE REDUCTION SCHEDULE

17.	RISK PURCHASE CLAUSE

18.	FORCE MAJEURE CLAUSE

19.	ARBITRATION CLAUSE

20.	INTEGRITY PACT (IP)

21.	RECOVERY OF SUMS DUE

22.	CONFIDENTIALITY OF TECHNICAL INFORMATION

23.	PATENTS & ROYALTIES

24. 	LIABILITY CLAUSE

25. 	COMPLIANCE OF REGULATIONS

26. 	REJECTION, REMOVAL OF REJECTED GOODS AND REPLACEMENT

27. 	NON-WAIVER

28.	NEW & UNUSED MATERIAL

29. 	PURCHASE PREFERENCE CLAUSE

30. 	CANCELLATION

31. 	ANTI –COMPETITIVE AGREEMENTS/ABUSE OF DOMINANT POSITION

32.	ASSIGNMENT

33.	GOVERNING LAW

34.	AMENDMENT

35.	SPECIAL PURCHASE CONDITIONS

36	NOTICES

Bharat Petroleum Corporation Limited

General Purchase Conditions

1. 	DEFINITIONS:

The following expressions used in these terms and conditions and in the purchase order shall have the meaning indicated against each of these:

1.1. 	OWNER: Owner means Bharat Petroleum Corporation Limited (a Government of India enterprise), a Company incorporated in India having its registered office at Bharat Bhavan, 4 & 6 Currimbhoy Road, Ballard Estate, Mumbai  400038 and shall include its successors and assigns (hereafter called BPCL as a short form).

1.2. 	VENDOR: Vendor means the person, firm or the Company / Corporation to whom this Request for quotation (RFQ)/purchase order is issued and shall include its successors and assigns.

1.3. 	INSPECTOR: Person/agency deputed by BPCL for carrying out inspection, checking/testing of items ordered and for certifying the  items conforming to the purchase order specifications..

1.4. 	GOODS / MATERIALS: means any of the articles, materials, machinery, equipments, supplies, drawing, data and other property and all services including but not limited to design, delivery, installation, inspection, testing and commissioning specified or required to complete the order.

1.5. 	SITE / LOCATION: means any Site where BHARAT PETROLEUM CORPORATION LTD. desires to receive materials any where in India as mentioned in RFQ.

1.6. 	 RATE CONTRACT  means the agreement for supply of goods/ materials between Owner and Vendor, for a fixed period of time (i.e till validity of Rate Contract, with no commitment of contractual quantity) on mutually agreed terms and conditions. The actual supply of goods/ materials shall take place only on issue of separate purchase orders  for required quantity as and when required by Owner.

1.7. 	 FIRM PROCUREMENT  means the agreement between the parties for mutually agreed terms and conditions with commitment of Quantity Ordered.

2. 	REFERENCE FOR DOCUMENTATION :

2.1.	The number and date of Collective Request for Quotation (CRFQ) must appear on all correspondence before finalization of  Rate Contract / Purchase Order.

2.2.	After finalization of  Contract / Purchase Order: The number and date of Rate Contract /

Purchase Order must appear on all correspondence, drawings, invoices, dispatch advices, (including shipping documents if applicable) packing list and on any documents or papers connected with this order.

2.3.	In the case of imports, the relevant particulars of the import Licence shall be duly indicated in the invoice and shipping documents as well as on the packages or consignments.

3. 	RIGHT OF OWNER TO ACCEPT OR REJECT TENDER :

The right to accept the tender will rest with the Owner.

4. 	LANGUAGE:

The Bid and all supporting documentation and all correspondence whatsoever exchanged by Vendor and Owner, shall be in English language only.

5.	 Price :

- Unless otherwise agreed to the terms of the RFQ, price shall be :

Firm and no escalation will be entertained on any ground, except on the ground of statutory levies applicable on the tendered items.

- 6. 	TAXES AND DUTIES :

All vendors shall have VAT/CST/GST/Service tax  registration in the concerned State and vendor shall quote their TIN number in the quotation.

6.1.	 EXCISE DUTY :

6.1.1. 	Excise duty included in the basic price. No separate excise duty is payable.

6.2. 	SALES TAX / VAT/GST :

6.2.1. 	Sales tax/VAT/GST included in the basic price. No separate sales tax/VAT/GST is payable.

6.3 	Service tax :

All vendors shall have service tax registration wherever applicable.  BPCL may also claim CENVAT Credit on service tax. The vendor should quote service tax separately, if applicable. Vendor shall submit the TAX invoice. Vendor is required to furnish serially numbered and signed invoice / bill / challan containing the following details:

- Name, address and registration number of the service provider

- Name and address of person receiving taxable service

- Description, classification and value of taxable service provided

- Service Tax Payable

Service tax will be paid extra over the basic price at the prevailing rates as per Govt. notification provided the vendor has Service Tax registration.

6.4	FREIGHT AND OCTROI :

6.4.1 	Freight (Transportation) charges from the manufacturing unit of the vendor to the site (retail outlet) anywhere in the Territory have to be included in the basic price. No separate transportation charges are payable.

6.4.2. 	Octroi and entry taxes, if any, shall be invoiced separately and shall be re-imbursed by BPCL after completion of the work in all respects at actuals against the submission of original documentary evidence for proof of payment of the related octroi and entry taxes, as the case may be.

7.	INSPECTION :

7.1. 	BPCL may, at its own expense, have its representative(s) witness any test or inspection. In order to enable BPCL s representative(s) to witness the tests/inspections. BPCL will advise the Vendor in advance whether it intends to have its representative(s) be present at any of the inspections.

7.2. 	Even if the inspection and tests are fully carried out, the Vendor shall not be absolved from its responsibilities to ensure that the Material(s), raw materials, components and other inputs are supplied strictly to conform and comply with all the requirements of the Contract at all stages, whether during manufacture and fabrication, or at the time of Delivery as on arrival at site and after its erection or start up or consumption, and during the defect liability period. The inspections and tests are merely intended to prima-facie satisfy BPCL that the Material(s) and the parts and components comply with the requirements of the Contract. The Vendor s responsibility shall also not be anywise reduced or discharged because BPCL or BPCL s representative(s) or Inspector(s) shall have examined, commented on the Vendor s drawings or specifications or shall have witnessed the tests or required any chemical or physical or other tests or shall have stamped or approved or certified any Material(s).

7.3. 	Although material approved by the Inspector(s), if on testing and inspection after receipt of the Material(s) at the location, any Material(s) are found not to be in strict conformity with the contractual requirements or specifications, BPCL shall have the right to reject the same and hold the Vendor liable for non-performance of the Contract.

8. 	ORDER AWARD / EVALUATION CRITERIA :

Unless otherwise specified, Order award criteria will be on lowest quote landed price basis. Landed price will be summation of Basic Price + Service Tax.

Award of work would be Territory wise on lowest quote basis.

9. 	CONFIRMATION OF ORDER  :

The vendor shall acknowledge the receipt of the purchase order within 10 days of mailing  the same. The vendor shall sign, stamp the acknowledgement copy of the purchase order and return the same to BPCL.

- 10. 	PAYMENT TERMS :

10.1. 	At the sole discretion of the company the contractor can receive within 30 days of completion of the job upto 90% of the payment for the work done. All payments shall be subjected to deduction of Income Tax & statutory levies as applicable from time to time.

The Corporation will be deducting 10% value of all the bills towards retention money for all the jobs exceeding Rs.1,00,000/- and no interest will be paid on retention money. The said retention money will be due and paid to the contractor after ONE YEAR after any dues of the Corporation against the contractor under the workmanship/materials provided to the contractor and/or against any other claims for any reason whatsoever under the Agreement which may arise within the said period of ONE YEAR.

10.2. 	Unless otherwise mentioned, the specified documents  (All documents listed below (one original and two copies)) should be submitted to originator of P.O. (the name and contact details of whom are given in PO) and payments for despatches will be made by the originator of Purchase Order :

a) 	Tax Invoice (if applicable)

b)  	Manufacturers Test Certificate.

- 11. 	GUARANTEE/WARRANTY:

11.1. 	Materials shall be guaranteed against manufacturing defects, materials, workmanship and design for a period of 12 months from the date of completion of work. Warranty for replacement of  material / accessories should be provided free of charges at our premises. The above guarantee/warranty  will be without prejudice to the certificate of inspection or material receipt note issued by us in respect of the materials.

11.2. 	All the materials including components and sub contracted items should be guaranteed by the vendor within the warranty period mentioned above. In the event of any defect in the material, the vendor will replace / repair the material at BPCL s concerned location at vendor s risk and cost on due notice.

- 12. 	PERFORMANCE BANK GUARANTEE:

12.1. 	Vendor will have to provide Performance Bank Guarantee for 10% of the basic value of purchase order unless otherwise specified. This bank guarantee shall be valid (shall remain in force) for guarantee period (as mentioned in the guarantee clause), with an invocation period of six months thereafter. In the case of Indigenous vendors, the Performance Bank Guarantee shall be given on a non-judicial stamp paper of appropriate value (currently Rs 100). PBG format is as per Annexure A.

In case, PBG is not provided by the Vendor, 10% of the basic value shall be retained in lieu of PBG, till the expiry of guarantee and claim period.

12.2. 	If Vendor wants to submit the PBG at Contract level to avoid multiple number of PBG (i.e. PBG issued against every purchase/call off order) then the validity of PBG will be calculated as mentioned below:

12.2.1. 	Validity of PBG = Rate Contract Issue Date (Start Date of  Rate Contract) + Rate Contract Period (validity of Rate Contract) + Contractual Delivery Period of material + Contractual Guarantee period + 6 month (for invocation / Claim).

13. 	DELIVERY :

13.1.     Unless otherwise mentioned, Vendor is requested to quote their best delivery schedule from

the date of receipt of  Purchase order.

13.2. 	Time being the essence of this contract, the delivery mentioned in the purchase order shall be strictly adhered to and no variation shall be permitted except with prior authorization in writing from the Owner. Goods should be delivered, securely packed and in good order and condition, at the place of delivery and within the time specified in the purchase order for their delivery.

13.3.	The contractual delivery period is inclusive of all the lead time for engineering /procurement of  raw material, the manufacturing, inspection / testing, packing, transportation or any other activity whatsoever required to be accomplished for effecting the delivery at the required delivery point.

13.4. 	Unless otherwise specified, Material(s) shall not be despatched without prior inspection and/or testing and Release Order/Material(s) Acceptance Certificate issued by the manufacturer.

14. 	UNLOADING AND STACKING :

Unloading and stacking will be arranged by Vendor.

15 	VALIDITY OF OFFER:

The rates quoted against this tender shall be valid for a period of 120 Days from the date of opening of the tender unless otherwise specified in the Special Purchase Conditions.

16. 	DELIVERY DATES AND PRICE REDUCTION SCHEDULE:

16.1. 	The time and date of Delivery of Material(s) as stipulated in the Contract shall be adhered to on the clear understanding that the Price(s) of the Material(s) has/have been fixed with reference to the said Delivery date(s).

16.2. 	If any delay is anticipated by the Vendor in the delivery of the Material(s) or any of them beyond the stipulated date(s) of Delivery, the Vendor shall forthwith inform BPCL in writing of such anticipated delay and of the steps being taken by the Vendor to remove or reduce the anticipated delay, and shall promptly keep BPCL informed of all subsequent developments.

16.3. 	The delivery period quoted must be realistic & specific. The inability of successful Vendors to execute orders in accordance with the agreed delivery schedule will entitle BPCL, at its options, to :

16.3.1. 	Accept delayed delivery at prices reduced by a sum equivalent to half percent (0.5%) of the basic value of any goods not delivered for every week of delay or part thereof, limited to a maximum of 5% of the total basic order value.

16.3.2. 	Cancel the order in part or full and purchase such cancelled quantities from elsewhere on account at the risk and cost of the vendor, without prejudice to its right under 20.3.1 above in respect of goods delivered.

17. 	RISK PURCHASE CLAUSE:

BPCL reserves the right to curtail or cancel the order either in full or part thereof if the vendor fails to comply with the delivery schedule and other terms & conditions of the order. BPCL also reserves the right to procure the same or similar materials/equipment through other sources at vendor s entire risk, cost and consequences. Further, the vendor agrees that in case of procurement by the owner from other sources the differential amount paid by the owner shall be on account of the vendor together with any interest and other costs accrued thereon for such procurement.

18. 	FORCE MAJEURE CLAUSE :

- (A)   Definition:  The term  Force Majeure  means any event or circumstance or combination of events or circumstances that affects the performance by the vendor of its obligations pursuant to the terms of this Agreement (including by preventing, hindering or delaying such performance), but only if and to the extent that such events and circumstances are not within the vendor s reasonable control and were not reasonably foreseeable and the effects of which the vendor could not have prevented or overcome by acting as a Reasonable and Prudent person or, by the exercise of reasonable skill and care.  Force Majeure events and circumstances shall in any event include the following events and circumstances to the extent they or their consequences satisfy the requirements set forth above in this Clause:

      - the effect of any element or other act of God, including any storm, flood, drought, lightning, earthquake, tidal wave, tsunami, cyclone or other natural disaster;

      - fire, accident, loss or breakage of facilities or equipment, structural collapse or explosion;

      - epidemic, plague or quarantine;

      - air crash, shipwreck, or train wreck;

      - acts of war (whether declared or undeclared), sabotage, terrorism or act of public enemy (including the acts of any independent unit or individual engaged in activities in furtherance of a programme of irregular warfare), acts of belligerence of foreign enemies (whether declared or undeclared), blockades, embargoes, civil disturbance, revolution, rebellion or insurrection, exercise of military or usurped power, or any attempt at usurpation of power;

      - radioactive contamination or ionizing radiation;

- ( B)  Notice and Reporting:

- ( i )	The Vendor shall as soon as reasonably practicable after the date of commencement of the event of Force Majeure, but in any event no later than two (7) days after such commencement date, notify the BPCL in writing of such event of Force Majeure and provide the following information:

- (a)	reasonably full particulars of the event or circumstance of Force Majeure and the extent to which any obligation will be prevented or delayed;

(b)	such date of commencement and an estimate of the period of time required to enable the vendor to resume full performance of its obligations; and

(c)	all relevant information relating to the Force Majeure and full details of the measures the vendor is taking to overcome or circumvent such Force Majeure.

- (ii)   The Vendor shall, throughout the period during which it is prevented from performing, or delayed in the performance of, its obligations under this Agreement, upon request, give or procure access to examine the scene of the Force Majeure including such information, facilities and sites as the other Party may reasonably request in connection with such event.  Access to any facilities or sites shall be at the risk and cost of the Party requesting such information and access.

- (C)   Mitigation Responsibility:

      - The Vendor shall use all reasonable endeavours, acting as a Reasonable and Prudent Person, to circumvent or overcome any event or circumstance of Force Majeure as expeditiously as possible, and relief under this Clause shall cease to be available to the Vendor claiming Force Majeure if it fails to use such reasonable endeavours during or following any such event of Force Majeure.

      - The Vendor shall have the burden of proving that the circumstances constitute valid grounds of Force Majeure under this Clause and that it has exercised reasonable diligence efforts to remedy the cause of any alleged Force Majeure.

      - The Vendor shall notify BPCL when the Force Majeure has terminated or abated to an extent which permits resumption of performance to occur and shall resume performance as expeditiously as possible after such termination or abatement.

- Consequences of Force Majeure.  Provided that the Vendor has complied and continues to comply with the obligations of this Clause and subject to the further provisions:

      - the obligations of the Parties under this Agreement to the extent performance thereof is prevented or impeded by the event of Force Majeure shall be suspended and the Parties shall not be liable for the non-performance thereof for the duration of the period of Force Majeure; and

      - the time period(s) for the performance of the obligations of the Parties under this Agreement to the extent performance thereof is prevented or impeded by the event of Force Majeure shall be extended for the duration of the relevant period of Force Majeure except as provided herein.

- (E)    Force Majeure Events Exceeding 60 Days

      - If an event or series of events (alone or in combination) of Force Majeure occur, and continue for a period in excess of 60 consecutive days, then BPCL shall have the right to terminate this agreement, whereupon the Parties shall meet to mitigate the impediments caused by the Force Majeure event.

19. 	ARBITRATION CLAUSE :

19.1  	Any dispute or difference of any nature whatsoever, any claim, cross-claim, counter-claim or set off of  BPCL/Vendor against omission or on account of any of the parties hereto arising out of or in relation to this Contract shall be referred to the Sole Arbitration of Director(Marketing) / Director (HR) / Director (R) of 	BPCL as the case may be or to some officer of BPCL who may be nominated by  them.

19.2. 	In the event the Arbitrator being unable or refusing to act for any reason whatsoever, the said Directors of BPCL shall designate another person to act as an Arbitrator in accordance with the terms of the said Contract/Agreement. The Arbitrator newly appointed shall be entitled to proceed with the reference from the point at which it was left by his predecessor.

19.3. 	It is known to the parties herein that the Arbitrator appointed hereunder is an employee of the Corporation and may be Share holder of the Corporation.

19.4. 	The award of the Arbitrator so appointed shall be final, conclusive and binding on all the parties to the contract and the law applicable to arbitration proceedings will be the Arbitration and Conciliation Act, 1996 or any other enactment in replacement thereof.

19.5. 	The language of the proceedings will be in English and the place of proceedings will be Mumbai.

19.6. 	The parties hereby agree that the Courts in the city of Mumbai alone shall have jurisdiction to entertain any application or other proceedings in respect of anything arising under this Agreement and any Award or Awards made by the Sole Arbitrator hereunder shall be filed, if required, in the concerned Courts in the City of Mumbai alone.  (legal)

20. 	INTEGRITY PACT (IP) :

Vendors are requested to sign & return our pre-signed IP document, if applicable. This document is essential & binding. Vendor s failure to return the IP document duly signed along with Bid Document may result in the bid not being considered for further evaluation.

21. 	RECOVERY OF SUMS DUE:

Whenever, any claim against vendor for payment of a sum of money arises out of or under the contract, the owner shall be entitled to recover such sums from any sum then due or when at any time thereafter may become due from the vendor under this or any other contract with the owner and should this sum be not sufficient to cover the recoverable amount of claim(s), the vendor shall pay to BPCL on demand the balance remaining due.

22. 	CONFIDENTIALITY OF TECHNICAL INFORMATION:

Drawing, specifications and details shall be the property of the BPCL and shall be returned by the Vendor on demand. The Vendor shall not make use of drawing and specifications for any purpose at any time save and except for the purpose of  BPCL. The Vendor shall not disclose the technical information furnished to or organized by the Vendor under or by virtue of or as a result of the implementation of the Purchase Order to any person, firm or body or corporate authority and shall make all endeavors to ensure that the technical information is kept CONFIDENTIAL. The technical information imparted and supplied to the vendor by BPCL shall at all time remain the absolute property of BPCL. Imparting of any confidential information by the Vendor will be breach of contract.

23. 	PATENTS & ROYALTIES:

The vendor shall fully indemnify BPCL and users of materials specified herein/supplied at all times, against any action, claim or demand, costs and expenses, arising from or incurred by reasons of any infringement or alleged infringement of any patent, registered design, trademark or name, copy right or any other protected rights in respect of any materials supplied or any arrangement, system or method of using, fixing or working used by the vendor. In the event of any claim or demand being made or action sought against BPCL in respect of any of the aforesaid matter, the vendor shall be notified thereof immediately and the vendor shall at his/its own expense with (if necessary) the assistance of BPCL (whose all expense shall be reimbursed by the vendor) conduct all negotiations for the settlement of the same and/or litigation which may arise thereof.

24. 	LIABILITY CLAUSE:

In case where it is necessary for employees or representatives of the Vendor to go upon the premises of owner, vendor agrees to assume the responsibility for the proper conduct of such employees/representatives while on said premises and to comply with all applicable Workmen s Compensation Law and other applicable Government Regulations and Ordinances and all plant rules and regulations particularly in regard to safety precautions and fire hazards. If this order requires vendor to furnish labour at site, such vendor s workmen or employees shall under no circumstances be deemed to be in owner s employment and vendor shall hold himself responsible for any claim or claims which they or their heirs, dependent or personal representatives, may have or make, for damages or compensation for anything done or committed to be done,  in the course of carrying out the work covered by the purchase order, whether arising at owner s premises or elsewhere and agrees to indemnify the owner against any such claims, if made against the owner and all costs of proceedings, suit or actions which owner may incur or sustain in respect of the same.

25. 	COMPLIANCE OF REGULATIONS:

Vendor warrants that all goods/Materials covered by this order have been produced, sold, dispatched, delivered and furnished in strict compliance with all applicable laws, regulations, labour agreement, working condition and technical codes and statutory requirements as applicable from time to time. The vendor shall ensure compliance with the above and shall indemnify owner against any actions, damages, costs and expenses of any failure to comply as aforesaid.

26. 	REJECTION, REMOVAL OF REJECTED GOODS AND REPLACEMENT:

In case the testing and inspection at any stage by inspectors reveal that the equipment, materials and workmanship do not comply with specification and requirements, the same shall be removed by the vendor at his/its own expense and risk, within the time allowed by the owner. The owner shall be at liberty to dispose off such rejected goods in such manner as he may think appropriate. In the event the vendor fails to remove the rejected goods within the period as aforesaid, all expenses incurred by the owner for such disposal shall be to the account of the vendor. The freight paid by the owner, if any, on the inward journey of the rejected materials shall be reimbursed by the vendor to the owner before the rejected materials are removed by the vendor. The vendor will have to proceed with the replacement of the equipment or part of equipment without claiming any extra payment if so required by the owner. The time taken for replacement in such event will not be added to the contractual delivery period.

27. 	NON-WAIVER :

Failure of the Owner to insist upon any of the terms or conditions incorporated in the Purchase Order or failure or delay to exercise any rights or remedies herein, or by law or failure to properly notify Vendor in the event of breach, or the acceptance of or payment of any goods hereunder or approval of design shall not release the Vendor and shall not be deemed a waiver of any right of the Owner to insist upon the strict performance thereof or of any of its or their rights or remedies as to any such goods regardless of when such goods are shipped, received or accepted nor shall any purported oral modification or revision of the order by BPCL act as waiver of the terms hereof. Any waiver to be effective must be in writing. Any lone incident of waiver of  any condition of this agreement by BPCL shall not be considered as a continuous waiver or waiver for other condition by BPCL.

28. 	NEW & UNUSED MATERIAL :

All the material supplied by the vendor shall be branded new, unused and of recent manufacture.

29. 	PURCHASE PREFERENCE CLAUSE IF APPLICABLE:

Owner reserves its right to allow Public Sector Enterprises (Central/State), purchase preference as admissible/applicable from time to time under the existing Govt. policy. Purchase preference to a PSE shall be decided based on the price quoted by PSE as compared to L1 Vendor at the time of evaluation of the price bid.

Owner reserves its right to allow Micro and Small Enterprises (MSEs) and MSEs owned by Scheduled Caste (SC) or the Scheduled tribe (ST) entrepreneurs,  purchase preference as admissible/applicable from time to time under the existing Govt. policy. Purchase preference to a MSE and a MSE owned by SC/ST entrepreneurs shall be decided based on the price quoted by the said MSEs as compared to L1 Vendor at the time of evaluation of the price bid.

30. 	CANCELLATION:

30.1. 	BPCL reserves the right to cancel the contract/purchase order or any part thereof through a written notice to the vendor if.

30.1.1.	The vendor fails to comply with the terms of this purchase order/contract.

30.1.2. 	The vendor becomes bankrupt or goes into liquidation.

30.1.3. 	The vendor fails to deliver the goods on time and/or replace the rejected goods promptly.

30.1.4. 	The vendor makes a general assignment for the benefit of creditors.

30.1.5. 	A receiver is appointed for any of the property owned by the vendor.

30.2. 	Upon receipt of the said cancellation notice, the vendor shall discontinue all work on the purchase order matters connected with it. BPCL in that event will be entitled to procure the requirement in the open market and recover excess payment over the vendor s agreed price if any, from the vendor and also reserving to itself the right to forfeit the security deposit if any, made by the vendor against the contract. The vendor is aware that the said goods are required by BPCL for the ultimate purpose of materials production and that non-delivery may cause loss of production and consequently loss of profit to the BPCL. In this-event of BPCL exercising the option to claim damages for non delivery other than by way of difference between the market price and the contract price, the vendor shall pay to BPCL, fair compensation to be agreed upon between  BPCL and the vendor. The provision of this clause shall not prejudice the right of BPCL from invoking the provisions of price reduction clause mentioned in 20.3.1 as aforesaid.

31. 	ANTI –COMPETITIVE AGREEMENTS/ABUSE OF DOMINANT POSITION:

The Competition Act, 2002 as amended by the Competition (Amendment) Act, 2007 (the Act), prohibits anti- competitive practices and aims at fostering competition and at protecting Indian markets against anti- competitive practices by enterprises. The Act prohibits anti- competitive agreements, abuse of dominant position by enterprises, and regulates combinations (consisting of acquisition, acquiring of control and M&A) wherever such agreements, abuse or combination causes, or is likely to cause, appreciable adverse effect on competition in markets in India. BPCL reserves the right to approach the Competition Commission established under the Act of Parliament and file information relating to anti-competitive agreements and abuse of dominant position. If such a situation arises, then Vendors are bound by the decision of the Competitive Commission and also subject to penalty and other provisions of the Competition Act.

32.	ASSIGNMENT

The Vendor can / does not have any right to assign his rights and obligations under these  	general purchase conditions without the prior written approval of BPCL.

33.	GOVERNING LAW

These General Purchase Conditions shall be governed by the Laws of India.

34.	AMENDMENT

Any amendment to these General Purchase Conditions can be made only in writing and 	with the mutual consent of the parties to these conditions.

35.	SPECIAL PURCHASE CONDITIONS

In case of a conflict between the clauses, terms and conditions of General Purchase 	Conditions and Special Purchase condition, the clauses, terms and conditions of Special 	Purchase Condition will have an overriding effect over General Purchase Conditions and 	the 	same shall be applicable.

36.	NOTICES

Any notices to be given hereunder by a Party to the other shall be in English and delivered by hand or sent by courier or facsimile to the other Party at the address or facsimile number stated below or such other address or number as may be notified by the relevant Party from time to time:

BPCL

______________________

_______________________

Vendor

_______________________

_______________________

Please sign & return all the pages of GPC as a token of your acceptance of all the terms & conditions as mentioned above.

Annexure  A

PERFORMANCE BANK GUARANTEE

(On Non-judicial paper for appropriate value)

To,

Bharat Petroleum Corporation Limited

---------------------------------

--------------------------------

Dear Sir,

In consideration of the Bharat Petroleum Corporation Limited, (hereinafter called  the Company  which expression shall include its successors and assigns) having awarded to M/s. (Name) ………. (Constitution)………….. (address) ……….(hereinafter referred to as  The vendor  which expression shall wherever the subject or context so permits include its successors and assigns) a supply contract in terms interalia, of the Company s Purchase order No…….. dated ………. and the General and Special Purchase Conditions of the Company and upon the condition of vendor s furnishing security for the performance of the vendor s obligations and/or discharge of the vendor s liability under and / or in connection with the said supply contract upto a sum of Rs.(in figures)…………..Rs(in words)…………………………only amounting to 10% (ten percent)of the total contract value.

We, (Name)…………..(constitution) ……………(hereinafter called  the Bank  which expression shall include its successors and assigns) hereby jointly and severally undertake and guarantee to pay to the Company in -----(Currency) forthwith on demand in writing and without protest or demur of any and all moneys any wise payable by the Vendor to the Company under in respect of or in connection with the said supply contract inclusive of all the Company s losses and expenses and other moneys anywise payable in respect to the above as specified in any notice of demand made by the Company to the Bank with reference to this Guarantee upto an aggregate limit of Rs(in figures)…………Rs(in words)……………………….only.

AND the Bank hereby agrees with the Company that

- This Guarantee/undertaking shall be a continuing guarantee and shall remain valid and irrevocable for all claims of the Company and liabilities of the vendor arising upto and until midnight of …………………………………..

This date shall be 6 months from the last date of guarantee period.

ii 	This Guarantee / Undertaking shall be in addition to any other guarantee or security of whatsoever that the Company may now or at any time otherwise have in relation to the vendor s obligation/liabilities under and /or connection with the said supply contract, and the Company shall have full authority to take recourse to or reinforce this security in preference to the other security(ies) at its sole discretion, and no failure on the part of the Company in enforcing or requiring enforcement of any other security shall have the effect of releasing the Bank from its liability hereunder.

- The Company shall be at liability without reference to the Bank and without effecting the full liability of the Bank hereunder to take any other security in respect of the vendor s obligations and /or liabilities under or in connection with the said supply contract and to vary the terms vis a vis the vendor of the said supply contract or to grant time and / or indulgence to the vendor or to reduce or to increase or otherwise vary the prices of the total contract value or to release or to forbear from enforcement all or any of the obligations of the vendor under the said supply contract and / or the remedies of the Company under any other security(ies) now or hereafter held by the Company and no such dealing(s), variation(s), reduction(s), increase(s) or the indulgence(s) or arrangement(s) with the vendor or release or forbearance whatsoever shall have the effect of releasing the Bank from its full liability to the Company hereunder or of prejudicing rights of the Company against the Bank.

- This Guarantee /Undertaking shall not be determined by the liquidation or winding up ordissolution or change of constitution or insolvency of the vendor but shall in all respects and for all purposes be binding and operative until payment of all moneys payable to the Company in terms hereof.

- The Bank hereby waives all rights at any time inconsistent with the terms of the Guarantee /

Undertaking and the obligations of the Bank in terms hereof shall not be anywise affected or suspended by reason of any dispute or disputes having been raised by the vendor (whether or not pending before any Arbitrator, officer, Tribunal or Court) or any denial of liability by the vendor or any other order of communication whatsoever by the vendor stopping or preventing or purporting to stop or prevent any payment by the Bank to the Company in terms hereof.

- The amount stated in any notice of demand addressed by the Company to the Guarantor as liable to be paid to the Company by the vendor or as suffered or incurred by the Company on account of any losses or damages of costs, charges and or expenses shall as between the Bank and the Company be conclusive of the amount so liable to be paid to the Company or suffered or incurred by the Company, as the case may be and payable by the Guarantor to Company in terms hereof.

Yours faithfully,

(Signature)

NAME & DESIGNATION

NAME OF THE BANK

NOTES:

Annexure III

Special Purchase Conditions

- VALIDITY OF THE OFFER: Offer should remain valid for at least 120 days from the due date.

- PERIOD OF CONTRACT AND QUANTITY: Estimated requirement of CC pavers is for 1 year from the date of LOI/Contract.

Since requirements are estimates and not actual demand, BPCL reserves the right to procure 20% additional quantity over and above the estimated quantity under the same terms and conditions, either during the contract validity period or by extending contract validity period further up to six months.

For procurement beyond 20 % additional quantity under the same terms and conditions within the contract validity period or by extending contract validity period, mutual consent of BPCL and concerned vendor will be necessary.

Please note that quantity depicted in the table above is only likely indication of our requirement.  Region-wise procurement might vary depending upon actual demand during the tender period and shall be re-allocated between various regions and locations for the same vendor based on actual requirement.

- QUANTITY ALLOCATION /DISTRIBUTION AND EVALUATION:

This tender comprises of four Territories. BPCL desires to have one vendor per Territory.

Bidders shall submit their Techno-commercial bid and Price Bid for one Territory or all the Territories subject to the conditions of  supplying capacity & proven track record  &  financial capacity .

Offers would be evaluated on Territory wise lowest net landed price basis and order shall be awarded to the successful bidders per Territory. Bidder can be awarded more than one Territory subject to the conditions of  supplying capacity & proven track record  &  financial capacity .

Net Landed price means total cost of the work i.e.  Basic price inclusive of all taxes, levies, transportation, laying cost including all material & labour charges plus service tax at the prevailing rates as per Govt. notification & as applicable to the vendor.

Vendors are required to quote lumpsum amounts towards basic price comprising of cost of CC pavers, labour charges for laying CC pavers, cost of transportation to site, loading at manufacturing unit, unloading at site, cost of sand cushion, including cost of all material, labour & machinery. % rate of service tax as applicable to the vendor should be quoted separately in the price bid.

Annexure IV

Technical specifications – CC PAVER BLOCKS

TECHNICAL SPECIFICATION OF CC PAVER BLOCKS

| S.NO. | ITEM DESCRIPTION | BPCL SPECIFICATION |
| --- | --- | --- |
| 1 | SIZE | 225 MM X 112.5 MM X 80 MM (UNIREGULAR) |
| 2 | DIMENSIONAL TOLERANCE | (+/-) 2 MM FOR LENGTH & WIDTH (+/-) 3 MM FOR HEIGHT |
| 3 | CHAMFER | 7MM ALONG TOP EDGES |
| 4 | COMPRESSIVE STRENTH | NOT LESS THAN 35 N/SQMM FOR INDIVIDUAL PAVERS WITHOUT CORRECTION FACTOR FOR CHAMFER/THICKNESS. |
| 5 | SAMPLING | INTERAL TESTING – 3 BLOCKS PER EVERY 5000 BLOCKS EXTERNAL TESTING – 2 BLOCKS FOR EVERY 10000 BLOCKS MINIMUM OF 8 BLOCKS / SITE TESTING AS PER IS/BS STANDERDS. |
| 6 | TRANSVERSE STRENGTH | MINIMUM 3 MPA (IS – 1237 – 1980) |
| 7 | WATER ABSORBTION | 5.00% (MAXIMUM) |
| 8 | SURFACE | NON SKID |
| 9 | WEAR RESISTANCE | 3 MM AVERAGE 3.5 MM MAXIMUM, (LA. ABRASION TEST AS PER BS 6717) |
| 10 | WEIGHT PER SQ. FT. | SIZE 80 MM – 187.2 KG/SQM) |
| 11 | TESTING PROCEDURE | AS PER IS 15658: 2006 (ONLY CORRECTION FACTOR IS NOT APPLICABLE IN COMPRESSIVE STRENGTH TEST) |
| 12 | STEEL MOULD COLOURED PAVERS | Colour pigmented coating of Bayferrox/lauxess or equivalent pigment. (60-80) microns of approved shade only (brick red.) |

RUBBER MOULD TECHNICAL SPECIFICATION:

The paver blocks shall be in two layers. Top layer shall be 10 to 15 mm & balance for bottom layer. Both the layers shall be mixed to achieve desired compressive strength mentioned above.

Top layer shall have 10 to mm uniform thickness made out of Granite/Quartz crushed aggregate of cubical sizes not more than 6mm and downsize (shall have good abrasion resistant properties) as wearing layer and reflective coating & cement shall be mixed with UV resistant pigment and colour as per BPCL s selection and without impairing the characteristic properties of cement. Top surface shall be made anti skid with lacquer coating finish.

Compaction: Compaction of moulds shall be done by mechanical vibrators. The vibrator should vibrate both in horizontal direction and in vertical direction simultaneously. Mould should be retained minimum 1 & ½ minutes on table type vibrator s platform.

Curing: The rubber moulds shall be placed tightly closed so that they are not exposed to outside atmosphere. Curing to be done for minimum 24 hours.

After curing, the pavers shall be spread for drying and then lacquer coating of Bayferrox/lauxess shall be applied to give top surface of block smooth and shiny finish free of pot holes. The top surface shall have no pin holes should be dense. The other technical specifications & procedure for testing, laying and sampling shall be same as per the table given above.

SPECIFICATION FOR LAYING

Bedding and joint Filling sand

Bedding sand

It is well established that if proper attention is not paid to the quality of bedding sand and if the thickness of the bedding sand layer is not uniform enough, serious irregularities in surface profile can result and excessive differential deformation / rutting can occur early in service life of the block pavement. The desired gradation of bedding sand should be as under:-

IS Sieve size 			Percent passing

9.52 mm			100

4.75 mm			95 – 100

2.36 mm			80 – 100

1.18 mm			50 – 95

600 micron			25 – 60

300 micron			10 – 30

150 micron			0 – 15

75 micron			0 – 10

Care should be taken to see that single – sized or gap graded sand or sands with excessive amount of fines or plastic fines should not be used. The shape of sand particles should preferably be sharp rather than rounded, since sharp sands possess higher strength and resist the migration of sand from under the block to less frequently trafficked areas. Even though sharp sands are relatively more difficult to compact than rounded sands, the use of sharp sands should be preferred for the more heavily trafficked payments. The bedding sand should be free of deleterious materials.

Joint filling sand

The gaps in between two paving blocks (typically about 3mm wide) need to be filled by sand relatively finer than the bedding sand. The desired gradation for the joint filling sand is as under: -

IS Sieve size 			Percent passing

2.36 mm			100

1.18 mm			90 – 100

600 micron			60 - 90

300 micron			30- 60

150 micron			10 - 30

75 micron			0 - 10

It is necessary to restrict the fines (silt and / or clay) to 10% since excessive fines make joint filling very difficult. Similarly, it is not advisable to use cement in the joint filling sand which will not only make it difficult to completely fill the joints but would also adversely affect the desired flexibility characteristics of the paving block layer. The joint filling sand should be as dry as possible otherwise complete filling of joints will be difficult. To overcome the problem of efflorescence on the surface of paving block layer, the joint filling sand should be washed to remove soluble salts.

Edge restraints

The main purpose of providing edge restraints is to confine the bedding sand and to provide reaction against the horizontal thrust that can develop between blocks while under construction or under traffic. The edge restraints should be founded at least 50 mm below the bottom of the sand bedding course. The face of edge restraints which the edge row of paving units will abut must be vertical; preferably the edge restraints should be precast or cast in situ.

Annexure V

SPECIAL TERMS & CONDITIONS FOR SUPPLYING AND LAYING OF CC PAVER BLOCKS

- Orders in the form of Call-Off letters will be issued by Constn. Group Manager / Territory Engineers / Territory Manager of respective Territory.

- The tenderer Shall Provide the latest Photostat Copy of the statutory benefit made   to the employees who are in their payroll (i.e. Provident Fund /ESI etc.)

3.   The tenderer shall provide the Proof of Sales Tax / WCT / CST /Excise Registration.

BPCL reserves the right to test the blocks at site, after the supplies are effected. Testing Charges in such cases will be borne by the tenderer. Even if single block fails in the test results the contractor should replace the entire material supplied. BPCL also reserves the right to inspect blocks at manufacturer s premises.

Testing of CC paver blocks shall be done only at nearest Govt. Engineering Colleges or at reputed private Engineering Colleges as approved by BPCL Engineer incharge.

Defective blocks, if noticed, the contractor has to replace the same without any additional charges.

Power/Water and all other related equipments towards execution of work has to be arranged by the successful tenderer.

The successful tenderer has to investigate the base course before starting the work and intimate the condition / stability to the respective territory engineer before commencing the work to strengthen the base course, if necessary.

Bills will be settled by the respective Territories Office / Constn. Group Engineer against each call-off issued.

The contract will be valid for a period of ONE YEAR from the date of issue of LOI.

Repeat order shall be issued to the same party upon successful completion of the work for further period of one year for the same qty based on mutual consent.

EMD: Rs. One lakh in DD drawn on nationalized bank in favor of BPCL, Mumbai shall be sent to SMRE, West at Mumbai & a copy of the DD shall be uploaded in E-tender portal, failure of which leads to disqualification of bidder.

The successful tenderer are required to submit a security deposit of Rs. 1 lakh before commencement of work. The successful tenderer shall have the option to adjust the earnest money deposit towards security deposit if he so desires. The security deposit will be retained until the successful completion of work. In case of the security deposit in the form of Bank Guarantee, the same shall be kept valid by the tenderer at his cost till the completion of the work under contract and shall be extended from time to time. No interest will be payable on security deposit.

The basic rates quoted are delivered rates inclusive of transportation, Sales Tax, taxes, duties, levies etc. but shall be exclusive of service tax. Service tax as applicable shall be quoted separately in the space provided for the same in the price bid.

No mobilization advance will be given. Similarly, part payment towards materials supplied and price escalation will not be entertained.

Payment terms: - Payments will be released as per the actual measurements after deducting 10 % retention money, income tax, sales tax on works contracts if any, as applicable in the respective states. The 10% retention money shall be release after one year provided measurements as per the design criterion enclosed is demonstrated and no material defects found in the supply item.

The completion of work per Call -Off shall be 4 weeks from the date of Call off or date of intimation of site readiness whichever is later.

Penalty Clause: for delay in executing the job as per the agreed time of completion penalty at the rate of 0.5% per week to the maximum of 5 % of the value of the respective Call-off will be levied.

The tenderer should quote in line with all the terms of tender including material specification. Any deviation from the said conditions of the tender will lead to disqualification of Offer. The tenderer shall also have to submit the proof of CST / Sales Tax / Service tax/ WCT / Excise Registration along with their offer.

BPCL reserves the right to award/cancel jobs against these rates at its discretion.

In case of any discrepancy between the general terms and conditions of tender and special terms and conditions of tender (as mentioned above), the Special terms and Conditions of Tender shall prevail.

All the tender documents and Annexures, Techno-commercial Details, Price Bid and declaration forms as well as all uploaded documents (as per clause IX below) shall form the part of the tender. Techno-commercial details, declaration forms and Price Bid will be online only. The details of the e-tender process are enclosed as Annexure VI.

Offers should strictly be in accordance with the tender terms & conditions and our specifications. Tenderers are requested to carefully study all the documents/annexures and understand the conditions, specifications etc, before submitting the tender and quoting rates. In case of doubt, written clarifications should be obtained, but this shall not be a justification for request for extension of due date for submission of bids.

Vendors  have to upload a scanned copy (in pdf or jpg format) of the following documents:

    - Copy of third party inspection report for Bid-qualification Criteria.

    - Excise/VAT documents including quarterly returns (or) Factory license (or) Certificate from statutory auditor as mentioned in Bid-qualification Criteria.

    - Invoices of any continuous 12 months period in the last 3 years from the due date of bid submission with the corresponding Purchase Orders as mentioned in Bid-qualification Criteria.

    - Audited Balance Sheets and Profit & Loss accounts of the vendor for the previous three financial accounting years (2009-10, 2010-11 & 2011-12) prior to the due date of bid submission (English language only)

    - Copy of PAN  Card

    - MSME Registration Certificate (Micro and Small) [if applicable]

    - Certified copies of Partnership Deed/ Memorandum & Articles of Association &    Certificate of registration with the Registrar of Companies (if applicable).

EMD FOREFEITURE AND RETURN OF EMD: EARNEST MONEY DEPOSIT WILL BE FORFEITED IN THE EVENT OF

- Withdrawal of offer while the offer is under consideration during the offer validity period.

- Tenderer not accepting our Purchase Order, if placed without prejudice to our rights to recover damages on account of breach of contract.

- Non-confirmation of acceptance of order within the stipulated time after placement without prejudice to our rights to recover damages on account of breach of contract.

- Any unilateral revision made by the tenderer during the validity period of the offer.

EMD of Rs. 100,000/- shall be returned on finalization of the order. No interest on this EMD is payable.

Placement of call-ups against the Rate Contract:

Call-offs/ PO shall be placed by the Construction Group Manager or Territory Engineer of the respective Territory. Payment will be released by the originator of the Call Off/PO.

Annexure VI

General Instructions to bidders for E-Tendering

- Interested parties may download the tender from BPCL website www.bharatpetroleum.in (or) http://eprocure.gov.in (or) from the e-tendering website https:/bpcl.eproc.in and participate in the tender as per the instructions given herein, on or before the due date and time of the tender. The tender available on the BPCL website can be downloaded for reading purpose only. For participation in the tender, please fill up the tender on-line on the e-tender system available on https://bpcl.eproc.in.

- For registration on the e-tender site https://bpcl.eporc.in, you need to download the User Instruction Manual from the site and read it. They shall have to select  Enrollment  and complete the  Supplier Registration Form  by filling in all the information correctly. Kindly remember the login id, password entered therein. After you complete this process, system will generate an e-mail wherein a system generated  Challenge Phrase  will be mailed to you to complete balance registration process.

- As a pre-requisite for participation in the tender, tenderers are required to obtain a valid Digital Certificate of Class IIB and above as per Indian IT Act from the licensed Certifying Authorities operating under the Root Certifying Authority of India (RCIA), Controller of Certifying Authorities (CCA).  The cost of obtaining the digital certificate shall be borne by the tenderer.

In case any tenderer so desires, he may contact our e-procurement service provider M/s. C1 India Pvt. Ltd., Mumbai (Contact no. 91-22-66865600) for obtaining the digital signature certificate. Please note that generally, it takes 5 working days for obtaining a digital certificate after the submission of all required documents / fees.

- Corrigendum/amendment, if any, shall be notified on the site https://bpcl.eproc.in. In case any corrigendum/amendment is issued after the submission of the bid, then such tenderers, who have submitted their bids, shall be intimated about the corrigendum/amendment by a system-generated email.  It shall be assumed that the information contained therein has been taken into account by the tenderer. They have the choice of making changes in their bid before the due date and time.

- Tenderers are required to submit their bid on-line on or before the due date and time of closing of the tender. The general process for submitting the bid is as follows:

- Accept the contents of all the following Annexures in toto by clicking on the button provided on the screen below them:

    - Bid-qualification Criteria ( Annexure I)

    - General Purchase Conditions ( Annexure II )

    - Special Purchase Conditions ( Annexure III )

    - Technical Specifications ( Annexure IV )

    - Special Terms & conditions (Annexure V)

    - General Instructions to bidders for E-Tendering (Annexure VI)

- Down load, sign & upload the following documents.

    - Integrity Pact (pre-signed) duly signed and witnessed.

- Upload a scanned copy (in pdf or jpg format) of

    - Copy of third party inspection report for Bid-qualification Criteria.

    - Excise/VAT documents including quarterly returns (or) Factory license (or) Certificate from statutory auditor as mentioned in Bid-qualification Criteria.

    - Invoices of any continuous 12 months period in the last 3 years from the due date of bid submission with the corresponding Purchase Orders.

    - Audited Balance Sheets and Profit & Loss accounts of the vendor for the previous three financial accounting years (2009-10, 2010-11 & 2011-12) prior to the due date of bid submission (English language only)

    - Copy of PAN  Card

    - MSME Registration Certificate (Micro and Small) [if applicable]

    - Certified copies of Partnership Deed/ Memorandum & Articles of Association &    Certificate of registration with the Registrar of Companies  (if applicable).

In case no. of pages to be uploaded are more, then the same can also be zipped and uploaded. The supporting documents should be serially numbered and total number of pages uploaded, should be indicated.

- Techno-commercial Details, Declaration Forms and Price Bids will have to be filled online.

- Directions for submitting on-line offers, electronically, against e-procurement tenders directly through internet:

- Tenderers shall have to log on to the website (https://bpcl.eproc.in) for submitting their bid.

- The system time (IST) that will be displayed on e-Procurement web page shall be the time considered for determining the expiry of due date and time of the tender and no other time shall be taken into cognizance.

- Tenderers are advised in their own interest to ensure that their bids are submitted in e-Procurement system well before the closing date and time of bid. If the tenderer intends to change/revise the bid already entered, he may do so any number of times till the due date and time of submission deadline. However, no bid can be modified after the deadline for submission of bids.

- Once the entire process of submission of on-line bid is complete, the tenderers are required to go to option  own bid view  through dashboard and take the print of the envelope receipt as a proof of submitted bid.

- Bids / Offers shall not be permitted in e-procurement system after the due date / time of tender. Hence, no bid can be submitted after the due date and time of submission has elapsed.

- No manual bids/offers along with electronic bids/offers shall be permitted.

- It shall be understood that every endeavour has been made to avoid error which can materially affect the basis of Tender and the successful Tenderer shall take upon himself and provide for risk of any error which may subsequently be discovered and shall make no subsequent claim on its account thereof. (this should be part of covering letter)

- Once the BQ (or) techno-commercial (or) un-priced commercial bids are opened, tenderers can see the list of tenderers who have participated in the bid by logging on to the portal under their user ID and password and clicking on  Other Bids  view.

- Subsequently, once the price bids are opened, tenderers can see the rates quoted by all the participating bidders using the same option.

- No responsibility will be taken by BPCL and/or the e-procurement service provider for any delay due to connectivity and availability of website. They shall not have any liability to tenderers for any interruption or delay in access to the site irrespective of the cause. It is advisable that tenderers who are not well conversant with e-tendering procedures, start filling up  the tenders much before the due date /time so that there is sufficient time available with him/her to acquaint with all the steps and seek help if they so require. Even for those who are conversant with this type of e-tendering, it is suggested to complete all the activities ahead of time. It should be noted that the individual bid becomes viewable only after the opening of the bid on/after the due date and time. Please be reassured that your bid will be viewable only to you and nobody else till the due date/ time of the tender opening. The non availability of viewing before due date and time is true for e-tendering service provider as well as BPCL officials.

- BPCL and/or the e-procurement service provider shall not be responsible for any direct or indirect loss or damages and or consequential damages, arising out of the bidding process including but not limited to systems problems, inability to use the system, loss of electronic information etc.

In case of any clarification pertaining to e-procurement process, the tenderer may contact the following agencies / personnel:

- For system related issues :

  - M/s.C1 India at contact no. 7666639557 or 022-24176419 followed with an e-mail to amit.shah@c1india.com.

  - Procurement Manager of M/s. BPCL at contact no 022-24176209 followed  with  an e-mail to  pravink@bharatpetroleum.in

- For tender related queries

  - Manager Retail Engineering, (West) of M/s. BPCL at contact no 022-22188391 followed  with  an e-mail to  joshig@bharatpetroleum.in

  - Senior Manager Retail Engineering (West) of BPCL at contact no 022-22160119  followed with an email to rajashekarch@bharatpetroleum.in

The responsible person of the tender is Senior Manager Retail Engineering (West) of BPCL at contact no 022-22160119.

Annexure VII

- Integrity pact (IP):

Integrity pact (IP) is a pact between BPCL (as a purchaser) on one hand and the prospective bidder on the other hand stating that the two parties shall make certain commitments to each other in regard to ensuring transparency and fair dealings in the purchasing activities of the corporation.

It is mandatory to sign and return our pre-signed IP document (with two numbers of witnesses, place & date). This document is essential for binding.

- Proforma of Integrity Pact shall be returned by the bidder/s along with the bid documents, duly signed by the same signatory who is authorized to sign the bid documents. All the pages of the Integrity Pact shall be duly signed. Bidder s failure to return the IP duly signed along-with the bid documents shall result in the bid not being considered for further evaluation and liable to be rejected.

- If the bidder has been disqualified from the tender process prior to the award of the contract in accordance with the provisions of the Integrity Pact, BPCL shall be entitled to demand and recover from bidder liquidated damages amount by forfeiting the EMD/ Bid Security as per provisions of the integrity pact.

- If the contract has been terminated according to the provisions of the Integrity Pact or if BPCL is entitled to terminate the contract according to the provisions of the integrity pact, BPCL shall be entitled to demand and recover from contractor liquidated damages amount by forfeiting the Security Deposit/ Performance Bank Guarantee as per provisions of the integrity pact.

- Bidders may raise disputes/ complaints, if any, with the nominated independent external monitor (IEM) as under:

Name of IEM	: Shri Janki Ballabh

Address		: Flat no. 605, Vinayak Co-op. Hsg. Scy;

Plot no.8; near Versova telephone exchange,

Versova, Andheri (West), Mumbai – 400 053.

Telephone no. -  022 2635 3456

Mobile no.   -      98333 63066

For details, please refer enclosed IP pact document.

Proforma Of Integrity Pact

Pre-signed Proforma of Integrity Pact is attached in the e-tender. Bidders have to download the Pre-signed Proforma Integrity Pact and upload the same in the e-tender duly signed and witnessed.

INTEGRITY PACT FOR ARC FOR SUPPLYING & LAYING CC PAVER BLOCKS AT RETAIL OUTLETS IN MP & CG. CRFQ NO. 1000176274.

Between

Bharat Petroleum Corporation Limited (BPCL) hereinafter referred to as   The Principal,

And

The vendor whose authorized signatory has digitally signed this pact hereinafter referred to as The Bidder/Contractor/Supplier

Preamble

The Principal intends to award, under laid down organization procedures, contract/s for ARC SUPPLY AND LAYING PAVER BLOCKS AT RO S IN MP & CG. The Principal values full compliance with all relevant laws and regulations, and the principles of economic use of resources, and of fairness and transparency in its relations with its Bidder/s, Contractor/s and Supplier/s.

In order to achieve these goals, the Principal cooperates with the renowned international Non-Governmental Organization Transparency international (TI). Following TI s national and international experience, the Principal will appoint an Independent External Monitor who will monitor the tender process and the execution of the contract for compliance with the principles mentioned above.

Section 1 - Commitments of the Principal

(1)The Principal commits itself to take all measures necessary to prevent Corruption and to observe the following principles:

- (a)  No employee of the Principal, personally or through family members, will in connection with the tender, or the execution of the contract, demand, take a promise for or accept, for himself/herself for third person, any material or immaterial benefit which he/she is not legally entitled to.

- (b)   The Principal will, during the tender process, treat all Bidders with equity and reason. The Principal will, in particular, before and during the tender process, provide to all Bidders the same information and will not provide to any Bidder confidential / additional information through which the Bidder could obtain an advantage in relation to the tender process or the contract execution.

- (c) The Principal will exclude from the process all known prejudiced persons.

(2) If the Principal obtains information on the conduct of any of its employees which is a criminal offence under the relevant Anti-Corruption Laws of India, or if there be a substantive suspicion in this regard, the Principal will inform its Vigilance Office and in addition can initiate disciplinary actions.

Section 2 - Commitments of the Bidder / Contractor/Supplier

(1)  The Bidder / Contractor/Supplier commits itself to take all measures necessary to prevent corruption. He commits himself to observe the following principles during his participation in the tender process and during the contract execution.

(a) The Bidder / Contractor/Supplier will not, directly or through any other person or firm, offer, promise or give to any of the Principal s employees involved in the tender process or the execution of the contract or to any third person, any material or immaterial benefit which he/she is not legally entitled to, in order to obtain in exchange, any advantage of any kind whatsoever during the tender process or during the execution of the contract.

(b) The Bidder / Contractor/Supplier will not enter with other Bidders into any undisclosed agreement or understanding, whether formal or informal. This applies in particular to prices, specifications, certifications, subsidiary contracts, submission or non-submission of bids or any other actions to restrict competitiveness or to introduce cartelisation in the bidding process.

(c) The Bidder / Contractor/Supplier will not commit any offence under the relevant Anti-Corruption Laws of India; further the Bidder / Contractor/Supplier will not use improperly, for purposes of competition or personal gain, or pass on to others, any information or document provided by the Principal as part of the business relationship, regarding plans, technical proposals and business details, including information contained or transmitted electronically.

(d) The Bidder / Contractor/Supplier will, when presenting his bid, disclose any and all payments he has made, is committed to, or intends to make to agents, brokers or any other intermediaries in connection with the award of the contract.

(2) The Bidder / Contractor/Supplier will not instigate third persons to commit offences outlined above or be an accessory to such offences.

Section 3 - Disqualification from tender process and exclusion from

future contracts

If the Bidder, before contract award, has committed a transgression through a Violation of Section 2 or in any other form such as to put his reliability or credibility as Bidder into question, the Principal is entitled to disqualify the Bidder from the tender process or to terminate the contract, if already signed, for such reason.

(1) If the Bidder/Contractor/Supplier has committed a transgression through a violation of Section 2 such as to put his reliability or credibility into question, the Principal is also entitled to exclude the Bidder / Contractor/Supplier from future contract award processes. The imposition and duration of the exclusion will be determined by the severity of the transgression. The severity will be determined by the circumstances of the case, in particular the number of transgressions, the position of the transgressors within the company hierarchy of the Bidder and the amount of the damage. The exclusion will be imposed for a minimum of 6 months and maximum of 3 years.

(2) A transgression is considered to have occurred if the Principal after due consideration of the available evidences, concludes that no reasonable doubt is possible.

(3) The Bidder accepts and undertakes to respect and uphold the Principal s absolute right to resort to and impose such exclusion and further accepts and undertakes not to challenge or question such exclusion on any ground, including the lack of any hearing before the decision to resort to such exclusion is taken. This undertaking is given freely and after obtaining independent legal advice.

(4) If the Bidder / Contractor/Supplier can prove that he has restored / recouped the damage caused by him and has installed a suitable corruption prevention system, the Principal may revoke the exclusion prematurely.

Section 4 - Compensation for Damages

a)  No employee of the Principal, personally or through family members, will in connection with the tender, or the execution of the contract, demand, take a promise for or accept, for himself/herself or third person, any material or immaterial benefit which he/she is not legally entitled to.

b)    The Principal will, during the tender process, treat all Bidders with      equity and reason. The Principal will, in particular, before and during the tender process, provide to all Bidders the same information and will not provide to any Bidder confidential / additional information through which the Bidder could obtain an advantage in relation to the tender process or the contract execution.

(2) If the Principal has terminated the contract according to Section 3, or if the Principal is entitled to terminate the contract according to Section 3, the Principal shall be entitled to demand and recover from the Contractor/Supplier liquidated damages equivalent to Security Deposit / Performance Bank Guarantee.

(3) The Bidder agrees and undertakes to pay the said amounts without protest or demur subject only to condition that if the Bidder / Contractor/Supplier can prove and establish that the exclusion of the Bidder from the tender process or the termination of the contract after the contract award has caused no damage or less damage than the amount of the liquidated damages, the Bidder / Contractor/Supplier shall compensate the Principal only to the extent of the damage in the amount proved.

Section 5 - Previous Transgression

(1) The Bidder declares that no previous transgression occurred in the last 3 years with any other Company in any country conforming to the TI approach or with any other Public Sector Enterprise in India that could justify his exclusion from the tender process.

(2) If the Bidder makes incorrect statement on this subject, he can be disqualified from the tender process or the contract, if already awarded, can be terminated for such reason.

Section 6 - Equal treatment of all Bidders / Contractors/ Suppliers/ Subcontractors

(1) The Bidder/Contractor/Supplier undertakes to demand from all subcontractors a commitment in conformity with this Integrity Pact, and to submit it to the Principal before contract signing.

(2) The Principal will enter into agreements with identical conditions as this one with all Bidders, Contractors/Suppliers and Subcontractors.

(3) The Principal will disqualify from the tender process all Bidders who do not sign this Pact or violate its provisions.

Section 7 – Punitive Action against violating Bidders / Contractors /

Suppliers/Subcontractors

If the Principal obtains knowledge of conduct of a Bidder, Contractor, Supplier or Subcontractor, or of an employee or a representative or an associate of a Bidder, Contractor, Supplier or Subcontractor which constitutes corruption, or if the Principal has substantive suspicion in this regard, the Principal will inform the Vigilance Office.

Section 8 - Independent External Monitors

(1) The Principal has appointed competent and credible Independent External Monitors for this Pact. The task of the Monitor is to review independently and objectively, whether and to what extent the parties comply with the obligations under this agreement.

(2) The Monitor is not subject to instructions by the representatives of the parties and performs his functions neutrally and independently. He reports to the Chairperson of the Board of the Principal.

(3) The Bidder/Contractor/Supplier accepts that the Monitor has the right to access without restriction to all Project documentation of the Principal including that provided by the Bidder/Contractor/Supplier. The Bidder/Contractor/Supplier will also grant the Monitor, upon his request and demonstration of a valid interest, unrestricted and unconditional access to this project documentation. The same is applicable to Subcontractors. The Monitor is under contractual obligation to treat the information and documents of the Bidder/Contractor/Supplier/ Subcontractor with confidentially.

(4) The Principal will provide to the Monitor sufficient information about all meetings among the parties related to the Project provided such meetings could have an impact on the contractual relations between the Principal and the Bidder/Contractor/Supplier. The parties offer to the Monitor the option to participate in such meetings.

(5) As soon as the Monitor notices, or believes to notice, a violation of this agreement, he will so inform the Management of the Principal and request the Management to discontinue or heal the violation, or to take other relevant action. The Monitor can in this regard submit non-binding recommendation. Beyond this, the Monitor has no right to demand from the parties that they act in a specific manner, refrain from action or tolerate action. However, the Independent External Monitor shall give an opportunity to the Bidder/Contractor/Supplier to present its case before making its recommendations to the Principal.

(6) The Monitor will submit a written report to the Chairperson of the Board of the Principal within 8 to 10 weeks from the date of reference or intimation to him by the  Principal  and, should the occasion arise, submit proposals for correcting problematic situations.

(7) If the Monitor has reported to the Chairperson of the Board a substantiated suspicion of an offence under relevant Anti-Corruption Laws of India, and the Chairperson has not, within reasonable time, taken visible action to proceed against such offence or reported it to the Vigilance Office, the Monitor may also transmit this information directly to the Central Vigilance Commissioner, Government of India.

(8) The word Monitor would include both singular and plural.

Section 9 - Pact Duration

This Pact begins when both parties have legally signed it. It expires for the Contractor/Supplier 12 months after the last payment under the respective contract, and for all other Bidders 6 months after the contract has been awarded.

If any claim is made / lodged during this time, the same shall be binding and continue to be valid despite the lapse of this pact as specified above, unless it is discharged / determined by Chairperson of the Principal.

Section 10 - Other provisions

(1)  This agreement is subject to Indian Law. Place of performance and jurisdiction is the Registered Office of the Principal, i.e. Mumbai. The Arbitration clause provided in the main tender document / contract shall not be applicable for any issue / dispute arising under Integrity Pact.

(2)    Changes and supplements as well as termination notices need to be made in writing. Side agreements have not been made.

(3)  If the Bidder/Contractor/Supplier is a partnership or a consortium, this agreement must be signed by all partners or consortium members.

(4)   Should one or several provisions of this agreement turn out to be invalid, the remainder of this agreement remains valid. In this case, the parties will strive to come to an agreement to their original intentions.

………………  					…… ……………………………

For the Principal				 For the Bidder/Contractor/Supplier

Place ……………… 				Witness 1 : ………………

(Signature/Name/Address)

Date ………………. 				Witness 2 : ………………

(Signature/Name/Address

Name Address and Contact Number of Independent External Monitor

Mr. Janki Ballabh,

Flat No.605, Versova, Vinayak Co-Op. Hsg. Soc.,

HSG	 Plot No. 8, Near Versova Telephone Exchange Versova,

Andheri (West), Mumbai 400 053.

Contact no.:91-22-2635 3456 (Residence)

Mobile: (91) 98333 63066

ANNEXURES- VIII

LIST OF APPROVED TPIAs ( Third Party Inspecting Agencies)

| 1 | Lloyds Register Industrial Service Ltd. |
| --- | --- |
| 2 | Det Norske Veritus (DNV) |
| 3 | Indian Register of shipping (IRS) |
| 4 | Engineers India Ltd. (EIL) |
| 5 | UL India Pvt. Ltd. |
| 6 | Tata projects Ltd. |
| 7 | SGS India Pvt. Ltd |
| 8 | Project & Development India Ltd. (PDIL) |
| 9 | Intertek testing Service India pvt. Ltd. |
| 10 | RITES Ltd. |
| 11 | MECON Engineers |
| 12 | Germanischer Lloyds Industrial Service Pvt. Ltd. (GLISPL) |

ANNEXURES- IX

Following Details to be signed and uploaded in e-prcurement portal (https://bpcl.eproc.in):

- Techno-commercial Details

| 1 | Name of the Tenderer (Company Name) , Office & Factory Address, Tel No & Fax No - Office & Factory, Contact Persons Name, Email ID, Designation & Cell No. |  |
| --- | --- | --- |
| 2 | Constitution of the firm :Sole Proprietor / Partnership – Registered before Registrar of Firms / Partnership – Unregistered / Pvt Ltd Co / Public Ltd Co / PSU / Govt. |  |
| 3 | Year of Establishment / Registration & Date, Registration No, Registration under which Act |  |
| 4 | PAN Card No. , Excise, Sales Tax and Service Tax Registration No. as applicable |  |
| 5 | Registration with MSME (Micro and Small) if applicable. |  |
| 6 | Major Customers |  |
| 7 | ISO Certification Details |  |
| 8 | Name & address of the Proprietor/ Partners/ Directors with percentage of share holding |  |
| 9 | Are any of the above proprietor/ Partner/s/ Director/s also a proprietor/ Partner(s)/ Director(s) in any other CC pavers manufacturing unit. ( Yes/No) |  |
| 10 | If yes, then please give the following details - Name of Common Proprietor/Partner/Director - Name of the other Unit - Location |  |
| 11 | Name of Bankers & Full Address |  |
| 12 | Octroi Charges in percentage for Mumbai requirements Note: For evaluation purpose, Octroi charges will be considered only for Mumbai requirement. However, Octroi charges if applicable will be reimbursed against the submission of original documentary evidence for proof of payment of the related octroi. |  |
| 13 | Vendors shall be able to supply atleast 100 % of the tendered quantity of the Territory where they are willing to quote.( Yes/No) |  |
| 14 | Delivery – Kindly specify realistic delivery period. Expected delivery period is 4 weeks from the date of call off/PO/site readiness whichever is later. |  |

- Declaration Forms :

(to be signed and uploaded in e-prcurement portal ( https://bpcl.eproc.in)

DETAILS OF RELATIONSHIP WITH BPC DIRECTORS

| PART- I (Applicable where Manufacturer is Sole Proprietor) |  |
| --- | --- |
| 1.Name of Tenderer |  |
| 2.a.Office Address |  |
| 2.b.Residence Address |  |
| 3.Telephone |  |
| 4. State whether manufacturer is related to any of the director(s) of BPC |  |
| 5.If Yes to 4, state the name of the Director and manufacturer s relationship with him/her. |  |
| Put NA whichever is not applicable |  |
| PART- II (Applicable where the manufacturer is a partnership firm) |  |
| 1. Name of the Partnership firm |  |
| 2.Address : |  |
| 3.Name of Partners |  |
| 4.State whether any of the partner is a Director to BPC |  |
| 5. If Yes to 4 ,state the names(s) of Directors. |  |
| 6.State whether any of the partner is related to any of the Director(s)of BPC |  |
| 7.If Yes to 6 state the name(s) of Director(s) and the concerned Partner s relationship with him/her. |  |
| Put NA whichever is not applicable |  |
| PART - III (Applicable where the Manufacturer is a Public or Private Ltd. Co.) |  |
| 1. Name of the Company |  |
| 2.a.Address of Regd. Office |  |
| 2.b.Address of Principal Office |  |
| 3.State whether the company is a Pvt. Ltd. Co. or Public Ltd Co. |  |
| 4. Names of Directors of the Company |  |
| 5.State whether any of the Director of your Company is a Director of BPC . |  |
| 6.If Yes to (5) state the name(s) name(s) of the Director |  |
| 7.State whether any of the Director of your Company is related to any of the Director s of BPC. |  |
| 8.If Yes to (7) state the name(s) of Director and the concerned Director s (of the Vendor) relationship with him/her. |  |
| Put NA whichever is not applicable |  |

- Quantity offered:  (to be signed and uploaded in e-prcurement portal (https://bpcl.eproc.in):

Price Bids

Vendors have to fill Price Bids online in e-tender CRFQ -1000176274.

|  | Quantity required |  |  |  | Quantity offered |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Territory | Grey steel moulded | Grey rubber moulded | Red rubber moulded | TOTAL | Grey steel moulded | Grey rubber moulded | Red rubber moulded | TOTAL |
|  | sqm | sqm | sqm | sqm | sqm | sqm | sqm | sqm |
| Bhopal | 18000 | 6000 | 2000 | 26000 |  |  |  |  |
| Indore | 30000 | 4500 | 1500 | 36000 |  |  |  |  |
| Jabalpur | 15000 |  |  | 15000 |  |  |  |  |
| Raipur | 30000 | 4500 | 1500 | 36000 |  |  |  |  |

UOM – SQM

ANNEXURE-X

| TERRITORY REVENUE DISTRICT LIST OF MP |  |  | TERRITORY REVENUE DISTRICT LIST OF MP |  |  |
| --- | --- | --- | --- | --- | --- |
| TERRITORY | REVENUE DIST. COVERED | STATE | TERRITORY | REVENUE DIST. COVERED | STATE |
| BHOPAL | BETUL | M.P. | RAIPUR | BALAGHAT | CG |
| BHOPAL | BHIND | M.P. | RAIPUR | BASTAR | CG |
| BHOPAL | BHOPAL | M.P. | RAIPUR | BILASPUR | CG |
| BHOPAL | CHHATARPUR | M.P. | RAIPUR | DURG | CG |
| BHOPAL | CHHINDWARA | M.P. | RAIPUR | RAIGARH | CG |
| BHOPAL | GUNA | M.P. | RAIPUR | RAIPUR | CG |
| BHOPAL | GWALIOR | M.P. | RAIPUR | RAJNANDGAON | CG |
| BHOPAL | HOSHANGABAD | M.P. | RAIPUR | SURGUJA | CG |
| BHOPAL | MORENA | M.P. |  |  |  |
| BHOPAL | RAISEN | M.P. |  |  |  |
| BHOPAL | RAJGARH | M.P. |  |  |  |
| BHOPAL | SAGAR | M.P. |  |  |  |
| BHOPAL | SEHORE | M.P. |  |  |  |
| BHOPAL | SHIVPURI | M.P. |  |  |  |
| BHOPAL | TIKAMGARH | M.P. |  |  |  |
| BHOPAL | VIDISHA | M.P. |  |  |  |
| INDORE | DEWAS | M.P. |  |  |  |
| INDORE | DHAR | M.P. |  |  |  |
| INDORE | EAST NIMAR | M.P. |  |  |  |
| INDORE | INDORE | M.P. |  |  |  |
| INDORE | JHABUA | M.P. |  |  |  |
| INDORE | MANDSAUR | M.P. |  |  |  |
| INDORE | RATLAM | M.P. |  |  |  |
| INDORE | SHAJAPUR | M.P. |  |  |  |
| INDORE | UJJAIN | M.P. |  |  |  |
| INDORE | WEST NIMAR | M.P. |  |  |  |
| JABALPUR | DAMOH | M.P. |  |  |  |
| JABALPUR | JABALPUR | M.P. |  |  |  |
| JABALPUR | MANDLA | M.P. |  |  |  |
| JABALPUR | NARSIMHAPUR | M.P. |  |  |  |
| JABALPUR | PANNA | M.P. |  |  |  |
| JABALPUR | REWA | M.P. |  |  |  |
| JABALPUR | SATNA | M.P. |  |  |  |
| JABALPUR | SEONI | M.P. |  |  |  |
| JABALPUR | SHAHDOL | M.P. |  |  |  |
| JABALPUR | SIDHI | M.P. |  |  |  |

ANNEXURE-XI

GENERAL CONDITIONS OF TENDER

FILLING AND SUBMITTING TENDERS:

- Quotations should be submitted only in the prescribed tender schedule forms supplied by the Company together with Drawings and General Conditions of Tender duly signed by the tenderer along with a Bank Draft, if required, for the amount mentioned in Clause 17, on or before the due date/time of closing of the tender. Quotations received after the due date/time will not be considered

- The tenderer should study all the tender documents carefully and understand the conditions, drawings specifications etc. before quoting. If there are any doubts, he should obtain clarifications, but this shall not be justification for late submission or extension of opening date/time of the tenders.

- The tenderer should visit the site and acquaint himself with site conditions, availability of water, electricity, approach road, construction materials as per specifications, shelter for his staff etc. since these are to be provided/arranged by the tenderer (unless otherwise specified) at his cost.

- The tenderer should quote for all items in the tender schedule. The rates should be expressed both in figures- and in words: where discrepancy exists between the two, the rates expressed in words will prevail. Similarly if there is any discrepancy exists between the unit rate and the amount, the unit rate will prevail. The final amount again should be both in words and figures.

- The rates should be quoted in the same units as mentioned in the tender schedule.

- All entries in the Tender Documents should be in Ink/Typed. Corrections, if any, should be attested by full signature of the Tenderer. Use of white fluid is not permitted.

- Every page of the tender documents shall be signed by the tenderer or his authorized representative.

- The tenderer should indicate the time required to complete the entire work from the date of receiving the order. The time indicated in tender may have a bearing on awarding the contract.

RATES:

- The rates quoted should be inclusive of all material, labour, water, electricity, power equipment, tools / tackles, catering, shoring, lifts, scaffolding, excise / customs / duties, sales tax etc., All materials are to be supplied by the tenderer unless otherwise stated. Octroi shall be paid extra.

- Contractor is required to quote the tender in conformity with our terms and conditions and no deviating condition whatsoever will be entertained. Conditional offers will be rejected without any reason.

- The rate quoted should be inclusive of all material, labour, water, electricity, power equipment tools/ tackles, centering, shoring, lifts, leads, scaffolding etc. Once the quotation is accepted, the rates quoted shall be firm till one year from the date of LOI.

ACCEPTANCE OF TENDER:

- Incomplete/Conditional tender quotations or without valid EMD (whenever applicable) those received late and/not confirming to the standard terms and conditions, the tender documents will be rejected.

- The Company reserves the right to reject any or every tender without assigning any reason whatsoever and/or to negotiate with the tenderer (s) in the manner the Company considers suitable

EARNEST MONEY DEPOSIT / SECURITY DEPOSIT: (Applicable only for work costing Rs.50, 000/- and above in value).

- The tenderer shall be required to submit along with this quotation a Bank Draft in favors of Bharat Petroleum Corporation Ltd. for a sum equivalent to 5% of the total tendered value of works as earnest money deposit, subject to a minimum of Rs. 5,000/- and a maximum of Rs.1,00,000/-.

The earnest money deposit shall be returned to the unsuccessful tenderer/s within one month after due date for opening of the tender. The earnest money deposit of the successful tenderer will be retained till the commencement of the work. Thereafter the tenderer may opt to adjust the earnest money deposit against security deposit as a money deposit or request return of the earnest money deposit. No interest will be payable on earnest money deposit.

Security Deposit: (Applicable only for works costing Rs. 50,000/- and above in value).

- The successful tenderer before commencement of the work, shall have to provide to the Company, by way of security, a money deposit or a Bank Guarantee in the standard format provided by the Company, for an amount equivalent to 5% of the total tendered value of the works, subject to a minimum of Rs. 5,000/- and a maximum of Rs. 1,00,000/. The tenderer shall have the option to adjust the earnest money towards security deposit if he so desires.

The security deposit will be retained till the successful completion of the work. In the case of security deposit in the form of a Bank Guarantee, the same shall be kept valid by the tenderer at his cost till the completion of the work under contract and shall be extended from time to time. No interest will be payable on security deposit.

- EXECUTION OF AGREEMENT:

The successful tenderer shall within 15 days of the Company s communication to him of the acceptance of his tender, execute a formal Agreement with the Company, on the Company s format and on the stamp paper of appropriate value.

- EXECUTION OF WORKS:

The successful tenderer should submit detailed construction programme adhering to the completion time quoted in the Agreement. The programme will form part of the contract. However, the Company reserves the right to alter the programme, if necessary, from time to time and no claim of successful tenderer on account of such alteration will be entertained.

All materials required for the execution of work should conform to the standard specification and approve d by the Engineer in Charge before actually put to use. Commencement of work without prior approval shall be entirely at the risk and cost of the contractor. No delay due to non-availability of materials, tools, equipment etc. will be entertained by the Company. In the case of certain machinery/equipment, the Company s site Engineer may inspect the items for approval before they are brought to the site.

The responsibility for the safety, security and accounting of the materials and equipment brought or installed by the successful tenderer or handed over to him by the Company for completion of the work will remain with him till the acceptance of the work by the Company. Any damage caused to the material/ equipment during the execution of work will be made good by the successful tenderer at his cost. The Company may require the successful tenderer to have guarantee/indemnity bond executed for the value of the materials supplied to him free of cost, as per terms of the Agreement.

Quantities shown in the Tender Schedule are approximate and payment shall be made as per actual measurements. The successful tenderer is not entitled for any sort of compensation toward materials procured/stored in excess of the measured quantities.

The Company reserves the right to increase or decrease the tendered quantity or revise specifications, drawing, designs of any or every item or delete them at any stage of work. The successful tenderers claim for compensation or damages on account of these shall not be entertained. Such deviations will be adjusted at the rates contained in the Agreement or at prevailing market rates, if the rates are not available in the Agreement, by issuing variation order (s). In case it becomes necessary for the Company to temporarily suspend or postpone the work, partly, or fully due to unforeseen circumstances, the Company shall not be liable for any compensation on account of resultant delays.

The entire work will be carried out under the supervision of the authorized representative of the Company, but this will not detract successful tenderer s) full responsibility for quality/period of execution of work.

Detailed measurements of works carried out shall be taken jointly by the successful tenderer and our site Engineer at every stage of work, before proceeding to the next stage. All works shall be measured as per the procedure laid down. Payments will be made as per measured quantities and not as per Tender Schedule quantities.

The successful tenderer shall submit to the office which has awarded the contract, periodic progress reports of his work as stipulated by our Site Engineer.

The successful tenderer shall not undertake himself any change in specifications mentioned in the lender documents. In case of doubts he will refer the matter in writing to the Company and act as per clarifications given by the Company. Any changes in the work involving changes in original specifications quantities/additional items of work should be covered by obtaining suitable variation order (s) form the Company immediately.

If the performance of the successful tenderer is found to be unsatisfactory, the Company reserves the right to cancel in part or the whole of the contract and get the work executed through alternative means at the entire risk and cost of the successful tenderer.

If the successful tenderer does not complete the work in the stipulated time, the Company reserves the right to recover liquidated damages at 0.5% of the total contract value for every week of delay or part there of subject to a maximum of 5% of the total contract value until the work is satisfactorily completed and handed over. However for delay in completion of a specific urgent job the maximum compensation will be increased to 15% of the total contract value. Such damages may be deducted by the Company from any money due to the tenderer and any further amount due from the tenderer shall be paid by the tenderer to the company forthwith.

The successful tenderer should ensure the safety of adjoining property and shall make good any loss to product / property resulting from his negligence.

Hot work is carried out only in the areas earmarked for the purpose, after required safety precautions have been taken and only after obtaining written permission from the Site Engineer. Any provision required to be made e.g. wind screens of G.C.I. Sheets etc. to make the area safe for hot work, will be made the successful tenderer at his own cost.

The work in the existing Company s premises should be carried out during the Company s normal working hours and without obstructing day-to-day work in the establishment. If any work is required to be carried out beyond normal working hours, prior permission should be obtained before undertaking such work.

In the event of the successful tenderer failing to complete the work within the stipulated time, the Company shall have the right to employ any other agency to complete the remaining work at the risk & cost of the successful tenderer.

It will be the successful tenderer  s responsibility to get the works approved and obtain all certificates for plumbing, electrical, civil works from local, municipal, Governmental or other required authorities.

Tanks, Pumps, pipelines, Posts, Equipments and/or any other materials to be supplied by the Company will be supplied any where within the site premises. Safekeeping, transporting and handling of the same to actual location of the site will be the successful tenderer  s responsibility for which no extra payment will be made.

During execution of work if it is found necessary to dismantle a portion of existing bund wall, enclosure wall, compound wall, fencing etc. to facilitate the movement of materials and equipment, the same shall be carried out after obtaining permission in writing from Company s authorized representative and also made good by the contractor at his own cost.

If the work is required to be carried out in a working Depot, Installation, retail outlet etc. the progress of work is likely to be interrupted on account of operations in such units. Stowage of work under such circumstances shall not entitle the successful tenderer to claim any compensation for idling, machinery etc. during such interruptions.

The successful tenderer shall arrange for at least one competent supervisor to be present at site at all limes during the progress of the work, which shall be duly authorized to take instructions and execute them on his behalf.The successful tenderer and his man shall abide by all security / Safety rules / regulations in force at locations and the laws, bye laws, and statues of Government, semi-Government and other local authorities such as requirements / liability under enactment like the workmen s Compensation Act, Contract Labour Act etc. and the Company shall stand indemnified against any claims on these scores. The successful tenderer and his men shall strictly abide by  No Smoking  and other petroleum regulations on the premises.

Contractor will be responsible to provide all statutory benefits to the employees appointed by them and in case the Corporation is liable to make payment of any such statutory benefits to the employees of the Contractor as the principle employer, the contractor will be liable to indemnify the damage and loss suffered by the Corporation to that extent and corporation shall have liberty, without referring to the contractor to deduct such sum as may be suffered as loss or damage due to the aforesaid reason out of the pending bills of the contractor lying with the Corporation.

The successful tenderer shall arrange for at least one competent supervisor to be present at site at all times during the progress of the work, who shall be duly authorized to take instructions and executive them on his behalf.

29. INTERIM PAYMENTS:

At the sole discretion of the Company, the contractor can receive up to 90% of the payment for the cost of work done. Interim bills should be duly supported by the measurements of work actually done. (All payments shall be subjected to deduction of Income Tax and any other statutory deduction as may be applicable from time to time).

30. FINAL BILLS / RETENTION MONEY:

- On completion of the work to the satisfaction of the Company s authorized representative and after clearing the debris, tools, tackles, shoring, centering, materials etc. from the site and obtaining necessary certificates as required from the local authorities, the successful tenderer shall submit his final bill based on the jointly recorded measurements of actual work done.

- The final bill of the job done should be raised, unless otherwise agreed by the Corporation in writing, within one month from the date of completion of the total job as per contract. Whether the job has been completed or not will be decided at the sole discretion of the Corporation. Payments of the final bill will be made after adjusting interim payments and retention amount deducted and retained.

- The Corporation will be entitled to deduct 10% value of all Interim/running bills and in final bills as Retention Money for all jobs exceeding Rs.1,00,000/- and no interest will be paid on money retained by the Company.

- The said retention money will be retained for a period of one year and paid to the Contractor after adjusting any dues of the Corporation against the Contractor under the workmanship/materials provided to the Contractor and/or against any other claims for any reason whatsoever under the Agreement which may arise within the said period of one year. The retention period of one year will commence from the date of completion of the job (as reckoned by BPCL).

- Retention money shall be released against Performance Bank Guarantee of equivalent value, provided the tenderer opts for the same at the time submission of tender.

- The successful tenderer shall not subject or assign any part of the work to another party, without the prior written consent of the Company. In any event the successful tenderer will be solely responsible for the work so sublet or assigned.

- The Contractor undertakes to ensure due and complete compliance with all laws regulations, rules etc. whether of the Central Government or the State Government or any other competent authority applicable to the workmen employed or whose services are otherwise availed of by the Contractor, whether in connection with the construction work at the site or otherwise. The Employer shall have the right to inspect the records maintained by the Contractor concerning such workman from time to time and the Contractor to produce of the Employer s inspection in order to ascertain whether or not the requirements of all such laws regulations, rules etc. have been complied by the Contractor. In the event of the any contravention of such laws, regulations rules etc. coming to light whether as a result of such inspection or otherwise, the Employer shall have the right to require the Contractor to effect such compliance within such time as the Employer may prescribe in that behalf and in the event of the Contractor failing to effect such compliance within the time prescribed by the Employer then the Employer shall without prejudice to his rights be entitled to withhold from the amount payable to the Contractor any amount payable to the workmen under any such laws, regulations or rules and to make payment thereof to the workmen. The Employer shall also have in that event the right to terminate the contract with immediate effect and to exercise powers reserved to the Employer under the contract as result of termination.

- Special conditions, if any, pertaining to the tender is shown in Tender Schedule.

Tenderer should mention estimate of time for 		   Weeks/ Months : completing the work shown in the tender.

I/We have read carefully the above terms and  Conditions of Tender and agree to abide by the same.

Signature of the Contractor.......................... (Or his  Authorized representative)

Date:

Name / Seal of the Contractor:

Address:

STAMP & SIGNATURE OF BIDDER

Annexure XII

DECLARATION for TENDERS FOR PAVER BLOCKS

## We have understood the scope of work and also the specification for the CC Paver and confirm that we shall be supplying the pavers totally in line with the requirements.

- We understand that sample failure at one particular location would require us to replace  all the blocks with new ones in that location.  We also note that no correction factor will be used while assessing the strength of the blocks and the strength of each block shall not be less than 35 N / Sq.mm. The area for calculation of compressive strength should be the bottom area of the paver block.

- We understand that time is of essence to the contract and confirm our acceptance of the penalty clause in case of delays.

- We accept the delivery period of six weeks from the date of call off.

- We shall be sourcing the product from the following works of ours.

Location		 	Capacity

- Source 1			 Capacity / day 	-------------------blocks per day

- Source 2 			Capacity / day 	-------------------blocks per day

- Source 3			Capacity / day 	-------------------blocks per day

However in case of award of work, the tenderer has to ensure supply at the agreed rate from any of his approved establishment, if sourcing from the above indicated location for a territory is not possible. This is applicable both in case of rejection of the source by BPCL or for any other problems at the source.

- BPCL shall have the right to inspect the factory premises at any time and refuse acceptance of blocks from a particular work in case the production process is of non-acceptable standard

- We confirm that we will have/ use the following in our manufacturing process.

- Sieves to test the fine and coarse aggregates

- Test certificate from the manufacturer for cement used and records for correlation.  Test certificate for each source of fine and coarse aggregates.

- Approved design mix, manufacturing and testing process.

- Weigh batching equipments

- Concrete mixer of suitable capacity

- Automatic / semi automatic block making machine

- Mechanical / manual handling of manufactured blocks to ensure that individual blocks are not physically handled atleast for 3 days.

- Curing system (preferably mist curing)

- Compressive strength testing machine

- Quality assurance system to ensure the quality of the blocks produced.

- The quantity of work that can be handled by us in a 12 month period would be ________sq.m.  The number of sites that we can handle in a month simultaneously would be  ______nos.

- Our turnover  for the last year had been  _______lacs (proof to be submitted).  We would be able to undertake works to the tune of  _____lacs  simultaneously and ________lacs cumulatively.  We also understand that payment terms of the contract fully and accept the same.

- We shall abide by all applicable statutory requirements like excise / sales tax registration, PF for employees, etc.

- We shall be manufacturing the block in single layer.

Signature of the tenderer

Name of the tenderer with address

Date:

###### Annexure XIII

###### SAFE PRACTICES AT CONSTRUCTION SITES

The use of safety equipment and diligently implementing safe practices in construction sites is of paramount importance. In order to avoid accidents please ensure to have following safety equipment at all construction sites & inculcate the habit of using the same.

- Adequate no. of Safety helmets----To be worn by everyone working on site and for visitors as well.

- Adequate no. of Safety shoes ----To be worn by everyone working on site.

- Safety harness/belt ----should be worn by people working at height.

- People working on electrical panel must wear proper Rubber footwear and Insulated gloves to avoid electric shock.

- Light pole/Emblem pole/Monolith must be erected with the help of crane or chain & pully block only. It should never be erected manually.

- The construction site should be properly barricaded &   WORK IN PROGRESS  board should be displayed prominently.

- The installation of light fixtures on light poles should be done by proper ladder arrangement.

- EXCAVATION  :-Area where excavation is carried out should be segregated by means of colour bands/Rope fastened on pillars at sufficient distance from pit so as to avoid accidents in excavated area due to slippage of loose earth or otherwise.

a. The site of the execution or trench should be slopped or battered back to a safe angle of repose usually 45 degree or be supported with shoring by timbering or other suitable means to prevent collapse. The type of support necessarily will depend on the type of excavation, type of soil ,the nature of ground and the ground water condition.

b. Barrier/Fence shall be provided for preventing people from slipping into the pit.If the pit is in Vehicular driveway additionally a prominent board shall be put up showing  EXCAVATION IN PROGRESS .

c. Pumping out of accumulated water from pit is to be done at regular intervals. Run away water shall be prevented from entering the excavated area as it can   cause erosion of soil and sudden collapse of earth.

d. If the excavation is carried out without shoring necessary angle of repose to be maintained at all times.

e. No labour shall be allowed to sleep or take rest inside the pit. Kids should not be allowed to come near the excavation work.

f. Excavated earth shall be stacked away from cutting edge to avoid collapse of trench and sliding of heaped earth into trench.

g. Contractor shall ensure that the excavation does not damage any existing underground cables  ,pipelines ,foundation of adjoining buildings or structures etc. Wherever possible excavation shall not be so close and deep as to undermine safety of any adjoining building or structure.

- Contractor must ensure that

- Smoking inside the premises of a working location is strictly prohibited except in the designated areas.

b.  No source of ignition shall be taken to licensed premises or job.

c.  It is essential that good house-keeping is practiced at all time to keep the

work area neat and clean. No material on any of site of work shall be so

stacked as to cause danger and inconvenience to any person or public.

- At no time during working hours or at any time on site should any of the

contractor s personal be under the influence of any intoxicants nor

consume liquor, drugs or other intoxicating substances.

The above instructions shall be followed to avoid any mishap during construction.

The contract is liable to be terminated in case safety equipments as indicated above are not being used at site.

Signature of Contractor

| Part B : Un-Price Bid - 1 |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| TENDER FOR ARC FOR SUPPLYING & LAYING OF CC PAVER BLOCKS AT RO'S IN MP & CG STATES |  |  |  |  |  |  |  |
| CRFQ NO. 1000176274 DATED 08.12.2012 DUE DATE 01.01.2013 TIME 03.00PM |  |  |  |  |  |  |  |
| BHOPAL TERRITORY |  |  |  |  |  |  |  |
| NO. | DESCRIPTION. | UNIT | QTY | RATE | TAXES | FINAL LANDED RATE | AMOUNT |
|  |  |  |  | (BASIC RATE) | (SERVICE TAX & EDUCATIONAL CESS IN %) |  |  |
| 1 | Serv No. 9001113: Supplying n laying cement concrete paver blocks of size 225 x 112.5 x 80 mm over 50 mm thick coarse sand bedding i/c filling voids with fine sand and compaction using surface vibrator as per the enclosed terms and conditions and specifications for various locations. Pavers to be of Natural grey colour of approved shape. | M2 | 18,000 |  |  |  |  |
| 2 | Serv No. 9001115: Supplying n laying cement concrete paver blocks of size 225 x 112.5 x 80 mm over 50 mm thick coarse sand bedding i/c filling voids with fine sand and compaction using surface vibrator as per the enclosed terms and conditions and specifications for various locations. Pavers to be rubber moulded of Natural grey colour of approved shape. | M2 | 6,000 |  |  |  |  |
| 3 | Serv No. 9001116: Supplying n laying cement concrete paver blocks of size 225 x 112.5 x 80 mm over 50 mm thick coarse sand bedding i/c filling voids with fine sand and compaction using surface vibrator as per the enclosed terms and conditions and specifications for various locations. Pavers to be rubber moulded of Red colour of approved shape. | M2 | 2,000 |  |  |  |  |
| In words Rs…………………………………………………………………………………………… |  |  |  |  |  | TOTAL |  |
| NOTE: |  |  |  |  |  |  |  |
| 1 | Basic Rate includes cost of all material, labour, machinery, transportation, loading, unloading, and all taxes, duties, incidental charges & freight excluding service tax & educational cess. |  |  |  |  |  |  |
| 2 | Final Landed Rate is basic rate plus service tax & educational cess (mention in %) |  |  |  |  |  |  |
| 3 | Octroi if any will be reimbursed against production of original receipt. |  |  |  |  |  |  |
| Name of Vendor |  |  |  |  | Signature of the Vendor . |  |  |
|  |  |  |  |  | (or his authorised representative) |  |  |
| Address: |  |  |  |  |  |  |  |

| Part B : Un-Price Bid - 1 |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| TENDER FOR ARC FOR SUPPLYING & LAYING OF CC PAVER BLOCKS AT RO'S IN MP & CG STATES |  |  |  |  |  |  |  |
| CRFQ NO. 1000176274 DATED 08.12.2012 DUE DATE 01.01.2013 TIME 03.00PM |  |  |  |  |  |  |  |
| INDORE TERRITORY |  |  |  |  |  |  |  |
| NO. | DESCRIPTION. | UNIT | QTY | RATE | TAXES | FINAL LANDED RATE | AMOUNT |
|  |  |  |  | (BASIC RATE) | (SERVICE TAX & EDUCATIONAL CESS IN %) |  |  |
| 1 | Serv No. 9001113: Supplying n laying cement concrete paver blocks of size 225 x 112.5 x 80 mm over 50 mm thick coarse sand bedding i/c filling voids with fine sand and compaction using surface vibrator as per the enclosed terms and conditions and specifications for various locations. Pavers to be of Natural grey colour of approved shape. | M2 | 30,000 |  |  |  |  |
| 2 | Serv No. 9001115: Supplying n laying cement concrete paver blocks of size 225 x 112.5 x 80 mm over 50 mm thick coarse sand bedding i/c filling voids with fine sand and compaction using surface vibrator as per the enclosed terms and conditions and specifications for various locations. Pavers to be rubber moulded of Natural grey colour of approved shape. | M2 | 4,500 |  |  |  |  |
| 3 | Serv No. 9001116: Supplying n laying cement concrete paver blocks of size 225 x 112.5 x 80 mm over 50 mm thick coarse sand bedding i/c filling voids with fine sand and compaction using surface vibrator as per the enclosed terms and conditions and specifications for various locations. Pavers to be rubber moulded of Red colour of approved shape. | M2 | 1,500 |  |  |  |  |
| In words Rs…………………………………………………………………………………………… |  |  |  |  |  | TOTAL |  |
| NOTE: |  |  |  |  |  |  |  |
| 1 | Basic Rate includes cost of all material, labour, machinery, transportation, loading, unloading, and all taxes, duties, incidental charges & freight excluding service tax & educational cess. |  |  |  |  |  |  |
| 2 | Final Landed Rate is basic rate plus service tax & educational cess (mention in %) |  |  |  |  |  |  |
| 3 | Octroi if any will be reimbursed against production of original receipt. |  |  |  |  |  |  |
| Name of Vendor |  |  |  |  | Signature of the Vendor . |  |  |
|  |  |  |  |  | (or his authorised representative) |  |  |
| Address: |  |  |  |  |  |  |  |

| Part B : Un-Price Bid - 1. |
| --- |
| TENDER FOR ARC FOR SUPPLYING & LAYING OF CC PAVER BLOCKS AT RO'S IN MP & CG STATES |  |  |  |  |  |  |  |
| CRFQ NO. 1000176274 DATED 08.12.2012 DUE DATE 01.01.2013 TIME 03.00PM |  |  |  |  |  |  |  |
| JABALPUR TERRITORY |  |  |  |  |  |  |  |
| NO. | DESCRIPTION | UNIT | QTY | RATE | TAXES | FINAL LANDED RATE | AMOUNT |
|  |  |  |  | (BASIC RATE) | (SERVICE TAX & EDUCATIONAL CESS IN %) |  |  |
| 1 | Serv No. 9001113: Supplying n laying cement concrete paver blocks of size 225 x 112.5 x 80 mm over 50 mm thick coarse sand bedding i/c filling voids with fine sand and compaction using surface vibrator as per the enclosed terms and conditions and specifications for various locations. Pavers to be of Natural grey colour of approved shape. | M2 | 15,000 |  |  |  |  |
| In words Rs…………………………………………………………………………………………… |  |  |  |  |  | TOTAL |  |
| NOTE: |  |  |  |  |  |  |  |
| 1 | Basic Rate includes cost of all material, labour, machinery, transportation, loading, unloading, and all taxes, duties, incidental charges & freight excluding service tax & educational cess. |  |  |  |  |  |  |
| 2 | Final Landed Rate is basic rate plus service tax & educational cess (mention in %) |  |  |  |  |  |  |
| 3 | Octroi if any will be reimbursed against production of original receipt. |  |  |  |  |  |  |
| Name of Vendor |  |  |  |  | Signature of the Vendor . |  |  |
|  |  |  |  |  | (or his authorised representative) |  |  |
| Address: |  |  |  |  |  |  |  |

| Part B : Un-Price Bid - 1 |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| TENDER FOR ARC FOR SUPPLYING & LAYING OF CC PAVER BLOCKS AT RO'S IN MP & CG STATES |  |  |  |  |  |  |  |
| CRFQ NO. 1000176274 DATED 08.12.2012 DUE DATE 01.01.2013 TIME 03.00PM |  |  |  |  |  |  |  |
| RAIPUR TERRITORY |  |  |  |  |  |  |  |
| NO. | DESCRIPTION. | UNIT | QTY | RATE | TAXES | FINAL LANDED RATE | AMOUNT |
|  |  |  |  | (BASIC RATE) | (SERVICE TAX & EDUCATIONAL CESS IN %) |  |  |
| 1 | Serv No. 9001113: Supplying n laying cement concrete paver blocks of size 225 x 112.5 x 80 mm over 50 mm thick coarse sand bedding i/c filling voids with fine sand and compaction using surface vibrator as per the enclosed terms and conditions and specifications for various locations. Pavers to be of Natural grey colour of approved shape. | M2 | 30,000 |  |  |  |  |
| 2 | Serv No. 9001115: Supplying n laying cement concrete paver blocks of size 225 x 112.5 x 80 mm over 50 mm thick coarse sand bedding i/c filling voids with fine sand and compaction using surface vibrator as per the enclosed terms and conditions and specifications for various locations. Pavers to be rubber moulded of Natural grey colour of approved shape. | M2 | 4,500 |  |  |  |  |
| 3 | Serv No. 9001116: Supplying n laying cement concrete paver blocks of size 225 x 112.5 x 80 mm over 50 mm thick coarse sand bedding i/c filling voids with fine sand and compaction using surface vibrator as per the enclosed terms and conditions and specifications for various locations. Pavers to be rubber moulded of Red colour of approved shape. | M2 | 1,500 |  |  |  |  |
| In words Rs…………………………………………………………………………………………… |  |  |  |  |  | TOTAL |  |
| NOTE: |  |  |  |  |  |  |  |
| 1 | Basic Rate includes cost of all material, labour, machinery, transportation, loading, unloading, and all taxes, duties, incidental charges & freight excluding service tax & educational cess. |  |  |  |  |  |  |
| 2 | Final Landed Rate is basic rate plus service tax & educational cess (mention in %) |  |  |  |  |  |  |
| 3 | Octroi if any will be reimbursed against production of original receipt. |  |  |  |  |  |  |
| Name of Vendor |  |  |  |  | Signature of the Vendor . |  |  |
|  |  |  |  |  | (or his authorised representative) |  |  |
| Address: |  |  |  |  |  |  |  |